## 2021
Site Name (WaSC operational name) [optional] | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe
017480404 | 0% | Installation set-up/design issue | N/A - Ongoing investigation
27/29 Abbotsmead Approach CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
310 -314 Chester Road CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
ALTRINCHAM WwTW | 0% | Installation set-up/design issue | Resolved - November
ASSHETON ROAD CSO | 0% | Installation set-up/design issue | Resolved - November
BETLEY WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Bidston Bypass CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
BOLTON WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
BOLTON WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Bridgegate Avenue (manhole 5800) CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
BURY WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
BURY WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
CARLISLE WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
CASTLE CARROCK WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
CHAPEL-EN-LE-FRITH WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Dane Avenue/Wheatclose Road CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
DEARHAM WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Denton Transfer PS | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Denton Transfer PS | 0% | Installation set-up/design issue | N/A - Ongoing investigation
DUKINFIELD WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
DUKINFIELD WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
ECCLES WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
FAILSWORTH WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
FAILSWORTH WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Flass Lane at Bridgegate Ave, Newbarns CSO (04531/04CSO009) | 0% | Installation set-up/design issue | N/A - Ongoing investigation
GREAT BROUGHTON WwTW | 0% | Sensor failure / issue | N/A - Ongoing investigation
GREAT BROUGHTON WwTW | 0% | Sensor failure / issue | N/A - Ongoing investigation
Hawcoat Lane/Hartland Road CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Hawcoat Lane/Thorncliffe Road CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
HAYFIELD WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Hazel Grove WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
HIGH LEGH WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Hollow Lane/Harrel Lane CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
HYDE WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
HYDE WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
KNUTSFORD WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
MACCLESFIELD WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
MOBBERLEY WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
MOSSLEY WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
MOSSLEY WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
NORTHWICH WwTW | 0% | Sensor failure / issue | N/A - Ongoing investigation
Rating Lane/Meadowlands Avenue CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
RAVENGLASS WwTW | 0% | Sensor failure / issue | N/A - Ongoing investigation
The rear of 25 Wheatfield Close CSO | 0% | Installation set-up/design issue | N/A - Ongoing investigation
ROSSENDALE WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
SALE WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
SALE WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
STAVELEY WwTW | 0% | Sensor failure / issue | N/A - Ongoing investigation
The Causeway (Chadderton) Wastewater Network Pumping Station | 0% | Installation set-up/design issue | N/A - Ongoing investigation
TINTWISTLE WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
WHALEY BRIDGE WwTW | 0% | Installation set-up/design issue | N/A - Ongoing investigation
Scale Hall PS | 14.66% | Sensor failure / issue | N/A - Ongoing investigation
Hale Storm Tanks and WwPPS | 21.05% | Sensor failure / issue | N/A - Ongoing investigation
Barrow-in-Furness Wastewater Treatment Works (BARFU) (017470166) | 28.09% | Sensor failure / issue | N/A - Ongoing investigation
Wistaston Road CSO | 29.46% | Comms failure / issue | N/A - Ongoing investigation
Stockport Road/Essex Avenue CSO | 30.53% | Comms failure / issue | N/A - Ongoing investigation
Newmarket Road PS | 31.78% | Sensor failure / issue | Resolved - December
Croft Drive/Shore Road CSO | 34.35% | Sensor failure / issue | Resolved - November
ALBERT ROAD CSO | 36.78% | Comms failure / issue | N/A - Ongoing investigation
134 Burnley Road CSO | 36.81% | Comms failure / issue | N/A - Ongoing investigation
Off School Lane CSO | 36.81% | Comms failure / issue | N/A - Ongoing investigation
Trafalgar Street/Ramsey Street Combined Sewer Overflow | 36.81% | Comms failure / issue | N/A - Ongoing investigation
Water Street/New Quay Street CSO | 36.81% | Comms failure / issue | N/A - Ongoing investigation
Winton Outfall CSO | 36.81% | Comms failure / issue | N/A - Ongoing investigation
Rear of 67 Meadow Lane CSO | 36.81% | Comms failure / issue | N/A - Ongoing investigation
Lancaster/Radcliffe Road | 39.33% | Comms failure / issue | N/A - Ongoing investigation
Stevenson Close (Worsley) CSO | 39.33% | Comms failure / issue | N/A - Ongoing investigation
BIDDULPH WwTW | 43.55% | Sensor failure / issue | Resolved - August
Beech Hill Lane CSO | 43.74% | Sensor failure / issue | Resolved - December
Ashworth Street CSO | 46.88% | Sensor failure / issue | Resolved - December
Tynesbank CSO | 48.6% | Sensor failure / issue | Resolved - September
Brook Dean Close (Smithhills Dean Road) Combined Sewer Overflow | 49.98% | Comms failure / issue | N/A - Ongoing investigation
Mill Lane CSO | 50.41% | Sensor failure / issue | Resolved - December
Kingfisher Way CSO | 52.31% | Comms failure / issue | N/A - Ongoing investigation
Turner Lane/Alexandra Road CSO | 55.37% | Sensor failure / issue | N/A - Ongoing investigation
Ester Street Car Park CSO | 59.37% | Comms failure / issue | N/A - Ongoing investigation
Broadoak/Lyndhurst Avenue CSO | 59.74% | Sensor failure / issue | N/A - Ongoing investigation
WHALLEY OLD ROAD / PROVIDENCE STREET CSO | 63.59% | Comms failure / issue | N/A - Ongoing investigation
Littleton Road CSO | 63.6% | Comms failure / issue | N/A - Ongoing investigation
Greenfield Chew Valley Combined Sewer Overflow | 63.6% | Comms failure / issue | N/A - Ongoing investigation
Oakfield Street CSO | 65.19% | Sensor failure / issue | Resolved - November
BOWDON WwTW | 65.88% | Sensor failure / issue | Resolved - May
The Circuit CSO | 67.08% | Comms failure / issue | N/A - Ongoing investigation
Cemetery Lane Pumping Station (52540) and Bridge Farm Combined Sewer Overflow (525QK) | 67.27% | Comms failure / issue | N/A - Ongoing investigation
Wellington Road North / Crossley Road CSO | 67.9% | Sensor failure / issue | N/A - Ongoing investigation
Bridgeman Park Combined Sewer Overflow | 68.02% | Sensor failure / issue | N/A - Ongoing investigation
Bridge Street West CSO | 70.12% | Comms failure / issue | N/A - Ongoing investigation
Bradley Lane CSO | 71.46% | Sensor failure / issue | Resolved - December
SEDBERGH WwTW | 72.16% | Sensor failure / issue | Resolved - April
(In Scout Hut) Owley Road CSO | 72.25% | Comms failure / issue | N/A - Ongoing investigation
Bolton Road/Canute Street CSO | 72.76% | Sensor failure / issue | Resolved - December
Arrowe Road / Arrowe Brook Lane CSO | 72.87% | Sensor failure / issue | Resolved - November
Blencogo WwPS | 73.31% | Sensor failure / issue | Resolved - December
Irvine's Farm CSO | 74.11% | Sensor failure / issue | Resolved - December
Otterspool Road Combined Sewer Overflow | 74.16% | Sensor failure / issue | Resolved - December
Broomstair Road CSO | 74.69% | Sensor failure / issue | Resolved - October
HOLME ROAD CSO | 75.38% | Comms failure / issue | N/A - Ongoing investigation
London Road (Nantwich) Combined Sewer Overflow (Site ID 162C7) (CRE0081) | 75.6% | Comms failure / issue | N/A - Ongoing investigation
Seedfield Secondary Modern School CSO | 75.6% | Comms failure / issue | N/A - Ongoing investigation
Beech Road/Claude Road CSO | 75.69% | Comms failure / issue | N/A - Ongoing investigation
High Street West CSO | 76.39% | Comms failure / issue | N/A - Ongoing investigation
Prince's Street CSO | 76.99% | Comms failure / issue | N/A - Ongoing investigation
Renwick CSO | 77% | Comms failure / issue | N/A - Ongoing investigation
CROXTETH HALL LANE CSO | 78.29% | Comms failure / issue | N/A - Ongoing investigation
MOBBERLEY WwTW | 78.67% | Sensor failure / issue | Resolved - October
City Road CSO | 78.95% | Sensor failure / issue | N/A - Ongoing investigation
Waterside Mill Combined Sewer Overflow | 79.75% | Comms failure / issue | N/A - Ongoing investigation
O/S 57 WOODHOUSE LANE CSO | 80.21% | Comms failure / issue | N/A - Ongoing investigation
ST MARYS ROAD CSO | 80.87% | Comms failure / issue | N/A - Ongoing investigation
The Bypass / Liverpool Road Junction CSO | 81.2% | Comms failure / issue | N/A - Ongoing investigation
Daresbury CSO | 81.51% | Sensor failure / issue | N/A - Ongoing investigation
The Crescent CSO | 81.82% | Comms failure / issue | N/A - Ongoing investigation
Waterfold Lane CSO | 82.19% | Comms failure / issue | N/A - Ongoing investigation
Spotland Bridge CSO | 82.54% | Sensor failure / issue | Resolved - November
DALSTON WwTW | 82.8% | Sensor failure / issue | Resolved - December
Bromley Road CSO | 82.89% | Comms failure / issue | N/A - Ongoing investigation
Barnston Storm Tanks (51CSO065) | 83% | Comms failure / issue | N/A - Ongoing investigation
Castle Hill Drive CSO | 83.33% | Comms failure / issue | N/A - Ongoing investigation
Waterloo Road Sewer | 83.39% | Comms failure / issue | N/A - Ongoing investigation
Northumberland Street/Stretford Road CSO | 83.54% | Comms failure / issue | N/A - Ongoing investigation
Waterhouse Close (Wardle) CSO | 84.13% | Comms failure / issue | N/A - Ongoing investigation
Sudell Road CSO | 84.14% | Comms failure / issue | N/A - Ongoing investigation
Mill Brow/Blackley Road CSO | 84.19% | Comms failure / issue | N/A - Ongoing investigation
Kendall Road (Blackley) Combined Sewer Overflow | 84.23% | Comms failure / issue | N/A - Ongoing investigation
Pickett How Farm CSO | 84.5% | Sensor failure / issue | N/A - Ongoing investigation
Rolls Crescent/Yew Street CSO | 85.35% | Comms failure / issue | N/A - Ongoing investigation
Whittams Farm CSO | 85.47% | Comms failure / issue | N/A - Ongoing investigation
Drake Street CSO | 85.86% | Sensor failure / issue | N/A - Ongoing investigation
Ladybridge Lane (Near Ladybridge Brow) CSO | 86.14% | Comms failure / issue | N/A - Ongoing investigation
STRINES WwTW | 86.65% | Sensor failure / issue | Resolved - December
Oakwood Drive (Croftlands) Combined Sewer Overflow | 87.6% | Sensor failure / issue | Resolved - March
ROCHDALE ROAD / EGGINGTON STREET CSO | 87.65% | Comms failure / issue | N/A - Ongoing investigation
Kiln Brow WwPS | 87.91% | Sensor failure / issue | Resolved - October
Lindred Road CSO | 87.96% | Sensor failure / issue | Resolved - December
Punch Bowl Hotel (Askham) CSO | 88.01% | Comms failure / issue | N/A - Ongoing investigation
Deanscales PS and CSO | 88.36% | Sensor failure / issue | Resolved - August
Rear of Hayes Castle Farm CSO | 88.38% | Sensor failure / issue | Resolved - November
102 Middlewich Road CSO | 88.45% | Comms failure / issue | N/A - Ongoing investigation
Billy's Lane CSO | 88.74% | Sensor failure / issue | Resolved - October
Near Harrison's Farm CSO | 88.94% | Sensor failure / issue | Resolved - December
Stretford Road and Upper Moss Lane Junction CSO | 89.32% | Comms failure / issue | N/A - Ongoing investigation
EDLESTON ROAD No1 CSO | 89.32% | Comms failure / issue | N/A - Ongoing investigation
Dukes Brow Combined Sewer Overflow (Site ID 051SL) (BBN0069) | 89.32% | Comms failure / issue | N/A - Ongoing investigation

## 2022
Site Name (WaSC operational) [optional] | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe
Barrow-in-Furness Wastewater Treatment Works (BARFU) (017470166) | 1.23% | Sensor failure / issue | N/A - Ongoing investigation
Wellington Road North / Crossley Road CSO | 2.72% | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
Wellington Road CSO | 14.25% | Sensor failure / issue | N/A - Ongoing investigation
Newmarket Road PS | 22.73% | Sensor failure / issue | N/A - Ongoing investigation
Oakfield Street CSO | 33.44% | Sensor failure / issue | Resolved - Nov
Common Bank Lane CSO | 40.94% | Sensor failure / issue | N/A - Ongoing investigation
Arrowe Road / Arrowe Brook Lane CSO | 43.42% | Sensor failure / issue | N/A - Ongoing investigation
Smedley Road CSO | 43.79% | Power failure / issue | N/A - Ongoing investigation
Anchor Lane CSO | 44.49% | Capital / maintenance works affect EDM operation | N/A - Ongoing investigation
Lime Tree Close CSO | 46.22% | Power failure / issue | N/A - Ongoing investigation
Low Hesket PS | 46.42% | Sensor failure / issue | N/A - Ongoing investigation
Lune Street Sewage PS | 46.67% | Sensor failure / issue | Resolved - January after reporting year
Lodge Road (Orrell) CSO | 47.52% | Sensor failure / issue | N/A - Ongoing investigation
Hale Storm Tanks and WwPPS | 50.58% | Sensor failure / issue | N/A - Ongoing investigation
Plumbland WwTW | 51.86% | Comms failure / issue | N/A - Ongoing investigation
Ashworth Street CSO | 52.69% | Sensor failure / issue | N/A - Ongoing investigation
Town Lane/Circular Road CSO | 53.28% | Sensor failure / issue | N/A - Ongoing investigation
Hunt Lane CSO | 56.41% | Sensor failure / issue | N/A - Ongoing investigation
Grove Road CSO | 57.25% | Sensor failure / issue | N/A - Ongoing investigation
Orrell House Farm CSO | 59.05% | Sensor failure / issue | N/A - Ongoing investigation
Woolley Bridge Road CSO | 62.63% | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
Broadoak Road CSO | 62.83% | Sensor failure / issue | N/A - Ongoing investigation
Westminster Road CSO | 64.07% | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
Compstall Road (Romilly)CSO | 68.44% | Power failure / issue | N/A - Ongoing investigation
HAYTON WwTW | 68.7% | Sensor failure / issue | N/A - Ongoing investigation
Hewlett Avenue CSO | 69.11% | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
Primrose Lane CSO | 70.26% | Sensor failure / issue | N/A - Ongoing investigation
Golf Road PS | 70.76% | Power failure / issue | N/A - Ongoing investigation
Hurstheads Lane/Green Lane CSO | 72.57% | Sensor failure / issue | N/A - Ongoing investigation
Turner Lane/Alexandra Road CSO | 73.07% | Sensor failure / issue | N/A - Ongoing investigation
Lower Wharf Street/Scotland Street CSO | 73.64% | Sensor failure / issue | N/A - Ongoing investigation
Lindred Road CSO | 74.17% | Comms failure / issue | N/A - Ongoing investigation
Bennett Street CSO | 75.43% | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
South of Ashawe Grove CSO | 75.61% | Comms failure / issue | Resolved - Nov
Robin Hood PS | 76.33% | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
Padiham Leisure Centre CSO | 76.55% | Sensor failure / issue | N/A - Ongoing investigation
Earls Way CSO | 76.62% | Sensor failure / issue | N/A - Ongoing investigation
Broomstair Road CSO | 76.83% | Sensor failure / issue | N/A - Ongoing investigation
Beech Hill Lane CSO | 77.05% | Sensor failure / issue | N/A - Ongoing investigation
Clarence Street CSO | 77.34% | Sensor failure / issue | N/A - Ongoing investigation
Pickett How Farm CSO | 77.98% | Sensor failure / issue | N/A - Ongoing investigation
Drake Street CSO | 78.48% | Power failure / issue | N/A - Ongoing investigation
Lostock Road CSO | 78.58% | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
Scale Hall PS | 79.69% | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
Chain Bar Lane CSO | 80.78% | Power failure / issue | N/A - Ongoing investigation
GREYSTOKE WwTW | 80.82% | Sensor failure / issue | N/A - Ongoing investigation
Yorkshire Street / Oswald Street CSO | 81.21% | Sensor failure / issue | N/A - Ongoing investigation
Hey Shoot Lane CSO | 81.86% | Sensor failure / issue | N/A - Ongoing investigation
Gathurst PS | 81.88% | Sensor failure / issue | N/A - Ongoing investigation
Wigan Road Shevington CSO | 81.99% | Sensor failure / issue | Resolved - February after reporting year
Bongs Valley PS | 82% | Sensor failure / issue | N/A - Ongoing investigation
John Pier Sewage Pumping Station CSO | 82.37% | Sensor failure / issue | N/A - Ongoing investigation
Clitheroe Road CSO | 82.7% | Sensor failure / issue | N/A - Ongoing investigation
Rishton Tank CSO | 83.61% | Installation set-up/design issue | N/A - Ongoing investigation
Croft Drive/Shore Road CSO | 85.18% | Sensor failure / issue | N/A - Ongoing investigation
Brampton CSO (Upstream of Carlisle WwTW) | 85.29% | Comms failure / issue | N/A - Ongoing investigation
Biggar Village PS | 85.36% | Sensor failure / issue | N/A - Ongoing investigation
Clover Road/Butterworth Brow CSO | 85.53% | Sensor failure / issue | N/A - Ongoing investigation
Mill Lane CSO | 85.68% | Sensor failure / issue | N/A - Ongoing investigation
Otterspool Road CSO | 85.92% | Sensor failure / issue | N/A - Ongoing investigation
Hoylake Road/Chapelhill Road CSO | 86.04% | Comms failure / issue | N/A - Ongoing investigation
POTTERS LANE CSO | 86.57% | Power failure / issue | Resolved - January after reporting year
Expressway 8, Runcorn (Weston Point, Point R) CSO | 86.79% | Comms failure / issue | Resolved - Jul
Farm Hill CSO | 86.79% | Comms failure / issue | N/A - Ongoing investigation
Stevenson Close (Worsley) CSO | 86.79% | Sensor failure / issue | Resolved - Jul
George Street CSO | 87.13% | Sensor failure / issue | Resolved - Dec
South of Peel Terrace CSO | 87.34% | Comms failure / issue | N/A - Ongoing investigation
Verdon Street/Scotland Combined Sewer Overflow | 87.51% | Comms failure / issue | N/A - Ongoing investigation
Milnrow Road/Pine Street | 87.56% | Comms failure / issue | N/A - Ongoing investigation
Sharoe Green Hospital CSO | 87.62% | Comms failure / issue | Resolved - Jul
Nuttall Hall Road CSO | 87.66% | Sensor failure / issue | Resolved - Sep
Woodhouse Road CSO | 87.73% | Comms failure / issue | N/A - Ongoing investigation
Hayes Castle Farm (Distington) CSO | 88.41% | Sensor failure / issue | N/A - Ongoing investigation
Osbaldeston PS | 88.65% | Sensor failure / issue | Resolved - January after reporting year
Hag End Brow CSO | 89.36% | Sensor failure / issue | N/A - Ongoing investigation
Stand Lane CSO | 89.5% | Sensor failure / issue | Resolved - Sep
Kem Mill Lane CSO | 89.53% | Comms failure / issue | Resolved - Aug
Wood Barn Farm CSO | 89.64% | Sensor failure / issue | Resolved - Nov

## 2023
Unique ID | Site Name | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe
UUP01603 | Raglan Street CSO | 89.91 | Comms failure / issue | Resolved - January after reporting year
UUP01264 | Mauldeth Road West CSO | 89.82 | Sensor failure / issue | Resolved - Apr
UUP01039 | Junction of Hungerford Road and Laureston Avenue CSO | 89.79 | Sensor failure / issue | Resolved - May
UUP00054 | 650 yards downstream of Kingsway River Bridge CSO | 89.48 | Comms failure / issue | Resolved - January after reporting year
UUP01127 | Leasowe Road CSO | 89.36 | Sensor failure / issue | N/A - Ongoing investigation
UUP01958 | Town PS | 89.29 | Sensor failure / issue | Resolved - Nov
UUP00005 | 11 NORTH PARK AVENUE CSO | 89.22 | Comms failure / issue | Resolved - January after reporting year
UUP00433 | Cemetery Lane Pumping Station (52540) and Bridge Farm Combined Sewer Overflow (525QK) | 89.1 | Comms failure / issue | Resolved - January after reporting year
UUP01208 | Lower Wharf Street/Scotland Street CSO | 89.05 | Sensor failure / issue | Resolved - Jun
UUP01325 | Milnrow Road/Pine Street | 88.64 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00232 | BIDDULPH WwTW | 88.54 | Sensor failure / issue | Resolved - Jul
UUP01404 | Norden/Bamford Outfall SSO | 88.52 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01817 | ST HELENS CLOSE CSO | 88.46 | Comms failure / issue | Resolved - January after reporting year
UUP00350 | Broomstair Road CSO | 88.38 | Capital / maintenance works affect EDM operation | Resolved - Oct
UUP00992 | HORWICH WwTW | 87.94 | Sensor failure / issue | Resolved - Feb
UUP00648 | MacDermott Road Pumping Station (formerly Dock Street PS) | 87.9 | Capital / maintenance works affect EDM operation | Resolved - Dec
UUP00009 | 161a Dickenson Road CSO | 87.88 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01379 | New Mill Street CSO | 87.25 | Sensor failure / issue | Resolved - Nov
UUP02020 | Warrington New Road CSO | 87.13 | Comms failure / issue | Resolved - Apr
UUP00380 | Ashworth Street CSO | 86.81 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00665 | DUKINFIELD WwTW | 86.78 | Comms failure / issue | Resolved - January after reporting year
UUP01809 | Adjacent Cross Keys Inn | 86.7021 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02246 | Wakefield Road CSO (449LF) | 86.3014 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01219 | The Mad Hatter Pub CSO | 86.2745 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01508 | Park Lane CSO | 86.01 | Comms failure / issue | N/A - Ongoing investigation
UUP01312 | Mill Lane CSO | 86 | Comms failure / issue | Resolved - January after reporting year
UUP00692 | EDLESTON ROAD No1 CSO | 85.78 | Sensor failure / issue | Resolved - Oct
UUP00532 | CONGLETON WwTW | 85.74 | Comms failure / issue | Resolved - Dec
UUP01777 | Snipe Clough CSO | 85.73 | Comms failure / issue | Resolved - January after reporting year
UUP01093 | KNUTSFORD / GRAMMAR SCHOOL ROAD CSO | 85.71 | Comms failure / issue | Resolved - May
UUP00404 | Carleton Mill Pumping Station (10018) (CAR0074) | 85.67 | Sensor failure / issue | N/A - Ongoing investigation
UUP00810 | Gloucester street CSO | 85.49 | Comms failure / issue | Scheduled
UUP02029 | WARRINGTON SOUTH WwTW | 85.43 | Comms failure / issue | Resolved - January after reporting year
UUP00211 | Beech Hill Lane CSO | 85.04 | Sensor failure / issue | N/A - Ongoing investigation
UUP01063 | Kiln Brow WwPS | 84.7 | Sensor failure / issue | Resolved - May
UUP00279 | Bongs Road CSO | 84.69 | Capital / maintenance works affect EDM operation | Resolved - Aug
UUP00814 | Golf Road PS | 84.61 | Capital / maintenance works affect EDM operation | Resolved - Nov
UUP01592 | Queens Park Drive (Crewe) CSO | 84.2 | Sensor failure / issue | N/A - Ongoing investigation
UUP00717 | Fairfield Street CSO | 84.11 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01252 | Maple Avenue CSO | 83.83 | Comms failure / issue | Resolved - January after reporting year
UUP01943 | Timber Street CSO | 83.67 | Comms failure / issue | N/A - Ongoing investigation
UUP00387 | Cable Street Combined Sewer Overflow (Site ID 251H9) (LAN0020) | 83.64 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00608 | The Danefield Road CSO | 83.26 | Sensor failure / issue | Resolved - Aug
UUP01650 | RIBCHESTER WwTW | 83.01 | Comms failure / issue | Resolved - January after reporting year
UUP00815 | Gorse Street CSO | 82.94 | Sensor failure / issue | N/A - Ongoing investigation
UUP01760 | Sion Street CSO | 82.64 | Capital / maintenance works affect EDM operation | Resolved - Dec
UUP01693 | Royton Settled Storm Overflow | 82.61 | Comms failure / issue | Scheduled
UUP01882 | Strangeways CSO | 82.55 | Sensor failure / issue | N/A - Ongoing investigation
UUP02214 | High Road CSO (259DA) | 82.5328 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01579 | Primrose Hill CSO | 81.91 | Comms failure / issue | Resolved - January after reporting year
UUP01434 | Oakmere Pumping Station | 81.41 | Sensor failure / issue | Resolved - Aug
UUP00316 | Dunning's Bridge Road, Junction Copy Lane CSO | 81.0526 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00168 | Ravensmoor PS | 80.67 | Comms failure / issue | Resolved - Nov
UUP02009 | Wallasey Detention Tank | 79.97 | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
UUP00240 | Billy's Lane CSO | 79.63 | Sensor failure / issue | Resolved - Aug
UUP01940 | THURSBY WwTW | 79.58 | Sensor failure / issue | Resolved - Dec
UUP01872 | Stonehill Road CSO | 79.34 | Comms failure / issue | N/A - Ongoing investigation
UUP00107 | Altham Outfall CSO | 79.32 | Capital / maintenance works affect EDM operation | N/A - Ongoing investigation
UUP02090 | Westminster Road CSO | 79.16 | Sensor failure / issue | Resolved - Jul
UUP00676 | East of Council Offices CSO | 78.92 | Sensor failure / issue | N/A - Ongoing investigation
UUP02010 | Wallasey PS (Transfer PS CSO) | 78.2 | Telemetry or data archiving failure / issue | Resolved - Apr
UUP00741 | Fitz Bridge (Low Road) CSO | 77.94 | Sensor failure / issue | N/A - Ongoing investigation
UUP01715 | Sandle Bridge Wastewater Network PS | 77.74 | Comms failure / issue | Resolved - Sep
UUP02073 | Welwyn Drive CSO | 77.25 | Comms failure / issue | Resolved - January after reporting year
UUP00924 | Rear of Hayes Castle Farm CSO | 76.92 | Sensor failure / issue | Resolved - Jun
UUP01432 | Oakfield Street CSO | 76.67 | Sensor failure / issue | N/A - Ongoing investigation
UUP00007 | 134 Burnley Road CSO | 76.63 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01601 | OUTSIDE THE BRIDGE TAVERN CSO | 76.48 | Comms failure / issue | Resolved - January after reporting year
UUP00844 | Great Underbank CSO | 76.45 | Sensor failure / issue | Resolved - Nov
UUP02272 | Oulton WwTW | 75.4902 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01394 | Newlands Road CSO | 75.33 | Comms failure / issue | Resolved - January after reporting year
UUP00298 | BRADLEY ROAD CSO | 75.33 | Comms failure / issue | Resolved - January after reporting year
UUP00406 | CARLISLE WwTW | 74.8 | Sensor failure / issue | Resolved - Dec
UUP01956 | Town Lane/Circular Road CSO | 74.78 | Sensor failure / issue | Resolved - Aug
UUP00177 | Bank Lane (Tintwistle) Combined Sewer Overflow | 74.58 | Sensor failure / issue | Resolved - Nov
UUP02215 | Highgate Jnc Lowther Street CSO (399KL) | 74.07 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01029 | Irwell Vale PS | 72.93 | Comms failure / issue | Resolved - January after reporting year
UUP00456 | Cheadle Golf Course CSO | 72.65 | Sensor failure / issue | Resolved - Jul
UUP00382 | Bury New Road/Waterloo Road CSO | 72.59 | Comms failure / issue | Resolved - January after reporting year
UUP00235 | Biggar Village PS | 72.21 | Comms failure / issue | Resolved - January after reporting year
UUP00258 | Blencogo WwPS | 71.99 | Sensor failure / issue | N/A - Ongoing investigation
UUP01988 | Bennett Street CSO | 71.94 | Installation set-up/design issue | Resolved - Nov
UUP01395 | Newmarket Road PS | 71.73 | Sensor failure / issue | Resolved - Jul
UUP00297 | Bradley Lane CSO | 71.32 | Sensor failure / issue | N/A - Ongoing investigation
UUP01774 | Junction of Smith Street/John Street CSO | 71.03 | Comms failure / issue | N/A - Ongoing investigation
UUP01482 | Otterspool Road Combined Sewer Overflow | 70.97 | Sensor failure / issue | Resolved - Aug
UUP01933 | Thornton Hough PS | 70.87 | Capital / maintenance works affect EDM operation | Resolved - Dec
UUP02012 | Wallasey PS (Transfer PS CSO) | 70.86 | Comms failure / issue | Resolved - Jun
UUP01397 | Newton Arlosh West PS | 70.62 | Sensor failure / issue | N/A - Ongoing investigation
UUP02187 | Yorkshire Street / Oswald Street CSO | 70.29 | Comms failure / issue | N/A - Ongoing investigation
UUP00390 | CALDER BRIDGE WwTW | 70.19 | Comms failure / issue | Resolved - January after reporting year
UUP01648 | Ribblesdale Drive PS | 69.8925 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00196 | Barrow-in-Furness Wastewater Treatment Works (BARFU) (017470166) | 68.97 | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
UUP00135 | Arrowe Road / Arrowe Brook Lane CSO | 68.86 | Comms failure / issue | N/A - Ongoing investigation
UUP00872 | Hag End Brow CSO | 67.66 | Capital / maintenance works affect EDM operation | N/A - Ongoing investigation
UUP01540 | Peppermint Bridge CSO | 66.6667 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01064 | King George V Memorial Playing Field | 66.63 | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
UUP00068 | Abbey Road/Hollow Lane CSO | 66.63 | Comms failure / issue | Resolved - January after reporting year
UUP02011 | Wallasey PS (Transfer PS CSO) | 66.02 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01211 | Lune Street Sewage PS | 65.94 | Telemetry or data archiving failure / issue | Resolved - Nov
UUP00117 | Anderton Field No. 28 | 65.9341 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01515 | Park Street/Swinton Hall Road | 65.73 | Comms failure / issue | Resolved - January after reporting year
UUP00437 | Chain Bar Lane CSO | 64.66 | Sensor failure / issue | Resolved - Oct
UUP00296 | Bradley Lane (Stretford) CSO | 62.97 | Sensor failure / issue | Resolved - Oct
UUP01100 | Lancaster/Radcliffe Road | 62.65 | Comms failure / issue | Resolved - January after reporting year
UUP00600 | DALSTON WwTW | 62.27 | Sensor failure / issue | N/A - Ongoing investigation
UUP01689 | ROSSENDALE WwTW | 61.71 | Comms failure / issue | Resolved - January after reporting year
UUP01861 | Stockport Road/Essex Avenue CSO | 61.56 | Comms failure / issue | Resolved - January after reporting year
UUP01891 | Sunny bank Road CSO | 60.59 | Comms failure / issue | N/A - Ongoing investigation
UUP01180 | Longshaw Street CSO | 60.46 | Comms failure / issue | Resolved - Nov
UUP01143 | Lime Tree Close CSO | 60.16 | Sensor failure / issue | Resolved - Jul
UUP01161 | LIVERPOOL WwTW | 60 | Sensor failure / issue | Resolved - January after reporting year
UUP00066 | 97 Wood Lane CSO | 59.5745 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00379 | Bury New Road CSO | 59.21 | Comms failure / issue | N/A - Ongoing investigation
UUP00494 | Clarence Street CSO | 58.82 | Comms failure / issue | N/A - Ongoing investigation
UUP00790 | Gilford Park CSO | 58.62 | Comms failure / issue | Resolved - January after reporting year
UUP01411 | Northumberland Street/Stretford Road CSO | 58.35 | Comms failure / issue | Resolved - January after reporting year
UUP01533 | Penny Lane (Grimesbottom) CSO | 58.07 | Sensor failure / issue | N/A - Ongoing investigation
UUP00427 | CATON WwTW | 57.41 | Comms failure / issue | Resolved - January after reporting year
UUP01351 | MOSSLEY WwTW | 57.37 | Comms failure / issue | N/A - Ongoing investigation
UUP00341 | Wellington Road CSO | 56.95 | Sensor failure / issue | N/A - Ongoing investigation
UUP00566 | Croft Drive/Shore Road CSO | 56.86 | Comms failure / issue | Resolved - Jun
UUP00986 | Hooley Bridge CSO | 56.72 | Comms failure / issue | N/A - Ongoing investigation
UUP00830 | Armit Road (Grasscroft) CSO | 55.2 | Comms failure / issue | Resolved - January after reporting year
UUP02040 | Water Street CSO | 55.09 | Comms failure / issue | N/A - Ongoing investigation
UUP01587 | Promenade CSO | 54.9 | Comms failure / issue | Resolved - January after reporting year
UUP01526 | Peel Lane CSO No 1 STORM OVERFLOW | 53.12 | Comms failure / issue | N/A - Ongoing investigation
UUP01494 | Owen Road CSO | 52.8 | Comms failure / issue | Resolved - January after reporting year
UUP01555 | Plumbland WwTW | 52.44 | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
UUP00628 | Delph New Road/Station SSO | 50.66 | Comms failure / issue | Resolved - January after reporting year
UUP00062 | 91 Manchester Road CSO | 50.15 | Sensor failure / issue | Resolved - Jun
UUP01975 | TYLDESLEY WwTW | 48.01 | Comms failure / issue | Resolved - January after reporting year
UUP01036 | John Street CSO | 47.52 | Comms failure / issue | Resolved - Nov
UUP00769 | Galloper Pool PS | 46.86 | Telemetry or data archiving failure / issue | Resolved - Sep
UUP00283 | Booths Bank Farm CSO | 46.81 | Comms failure / issue | Resolved - January after reporting year
UUP01412 | NORTHWICH WwTW | 46.75 | Sensor failure / issue | Resolved - Dec
UUP00094 | Albert Royds Street CSO | 45.22 | Comms failure / issue | Resolved - January after reporting year
UUP00333 | Broadoak/Lyndhurst Avenue CSO | 44.73 | Comms failure / issue | Resolved - Nov
UUP02106 | Wharf Street CSO | 42.5824 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02181 | Wrenbury Hall Road PS | 42.2222 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01723 | Scale Hall PS | 38.7 | Comms failure / issue | Resolved - January after reporting year
UUP00706 | Entwistle Street Combined Sewer Overflow (073DQ) (BOL0093) | 38.32 | Comms failure / issue | N/A - Ongoing investigation
UUP00897 | Hypatia Street CSO | 38.29 | Comms failure / issue | N/A - Ongoing investigation
UUP00220 | BELMONT WwTW | 38.08 | Comms failure / issue | Resolved - January after reporting year
UUP00626 | DEARDENGATE / BURY ROAD CSO | 37.3874 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00673 | Earls Way CSO | 36.84 | Sensor failure / issue | N/A - Ongoing investigation
UUP01574 | PRESTON WwTW | 36.75 | Sensor failure / issue | N/A - Ongoing investigation
UUP02070 | Wellington Road North / Crossley Road CSO | 30.68 | Sensor failure / issue | N/A - Ongoing investigation
UUP01527 | Peel Lane No. 2 CSO | 28.61 | Comms failure / issue | N/A - Ongoing investigation
UUP01195 | Low Hesket PS | 26.37 | Sensor failure / issue | N/A - Ongoing investigation
UUP01862 | Stockport Road West/Ashton Road CSO | 24.03 | Comms failure / issue | Resolved - January after reporting year
UUP00443 | Chapel House Road CSO(32014) (PEN0084) | 20 | Comms failure / issue | Resolved - January after reporting year
UUP00321 | Bridgeman Park Combined Sewer Overflow | 8.3 | Power failure / issue | N/A - Ongoing investigation
UUP01017 | Bear Street CSO | 0.27 | Comms failure / issue | Resolved - January after reporting year
UUP01214 | Lynton Avenue CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02091 | WESTMOORLAND STREET / SCHOLES CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01186 | Lord Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00046 | 42 Bridge Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00440 | Junction of Romford Street & Chapel Green Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00448 | Chapel Green Road/ Arundle Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00441 | Chapel Green Road/Bridgewater Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01881 | Strangeways PS No2 | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01419 | NW Junction Woodhouse Lane CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01899 | Tan House Lane/ Moss Bank Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01267 | Mayfield Drive Ww Ntwk PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00231 | Bickerstaffe Wastewater PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02032 | Warwick on Eden PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01500 | Paddington PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01416 | Monmouth Crescent | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00870 | Gynn Square CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00481 | Urmston Sewerage, Church Road & Carrington Road PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01788 | South of Peel Terrace, Chester Road, MHT (Outlet 2) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00811 | Gloucester Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00555 | Cooper Street | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01107 | Langley Road North CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01237 | Manchester Road Sewer | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01254 | Marland Hill SSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02123 | Cowm Park Way South | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01361 | Mowbreck Ww Ntwk PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01140 | Lightfoot Lane PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01728 | School Lane/Lodge Lane CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02067 | WEIR STREET CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00423 | Castle Street, Northwich | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01493 | Overton Peddar Far PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00583 | 18/20 Beech Farm Drive CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00209 | BEECH BRIDGE SOUTH CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01204 | Lower Road PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01541 | Percy Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00956 | HIGH BRIDGE CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02185 | York Avenue CSO | 0 | Comms failure / issue | N/A - Ongoing investigation
UUP01129 | Green Lane Leigh | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00603 | Damside Screening Chamber | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01187 | LORDS STREET / FIR STREET CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00825 | GRANGE LANE CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01731 | SCOTT AVENUE / HURSTHEAD STREET CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00525 | COMMERCIAL BROW CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01329 | Hattersley SSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01006 | Huyton Farm PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01231 | Manchester Road/Hope Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01618 | Rear 23 Liverpool Road North CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01465 | Opposite 255 Buxton Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02257 | 56 Cross Lane combined sewer overflow (STK0152) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01808 | Squires Gate Lane | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02271 | MARSHSIDE PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02006 | Walkden Road/Hoylake Road CSO | 0 | Installation set-up/design issue | Scheduled
UUP00128 | Argyll Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01898 | Tame Street/Park Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01014 | Illingworth Avenue CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00180 | BANK STREET STORAGE TANK CSO (28CSO123) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02136 | Wilmslow Road/Brook road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01056 | Kenworthy Lane PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00445 | Chapel Lane CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01984 | Vale Street | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02193 | CULGAITH WWTW | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02280 | Wood Lane Road, near High Barn Cottage LB | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01621 | Rear Garden of No.16 Crossings Close | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01654 | Rickerby Park CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01642 | Redvales Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01368 | Thursby Road/Basnett Street | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00694 | EDWARD STREET CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02030 | Grappenhall Resewerage Scheme | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02133 | Willaston Relief Sewer | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01632 | Rear of 68 Whitbarrow Road | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00784 | CSO at Gelt Road | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00880 | Hall Coppice CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00472 | CHORLEY NEW ROAD / DEVONSHIRE ROAD CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01358 | Mount Sion Road | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00378 | Bury New Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00164 | Back Queen's Park Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00540 | Copster Green Sewer Ejector Station | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01930 | Thorncliff Road/Cliff Lane CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02207 | Dicketts Lane CSO (493DE) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02248 | Weston Street CSO (073K8) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02225 | Manchester Road / Corrie Drive CSO (079DB) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02224 | Lower Barnes Street CSO (229KM) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
N/A | Longpool CSO (399KO) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02216 | Holland Close CSO (319LC) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02197 | Ainsworth Road CSO (091LY) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02252 | XXX Water Street CSO (099KN) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02242 | The Crescent CSO (383KE) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02231 | O/S XXXXXX House CSO (174LB) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02206 | Delph New Road CSO (319LB) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02232 | Old Lancaster Lane CSO (339KV) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02233 | Parker Street CSO (228ES) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02218 | Junction of High Street /Stockport Rd / Manchester Rd CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02219 | Liverpool Road CSO (42062) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02229 | Mottram Rd CSO (449BT) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02204 | Cross Lane CSO (399KM) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02236 | Regent Road / Ordsall Lane CSO (372NO) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02237 | Sagars Rd CSO (279DF) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02201 | Broadway CSO Opp Football Ground (319KO) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02244 | 9 Turton Road | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02220 | Liverpool Road PS (49039) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02234 | Pool Lane CSO (512L8) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02255 | Morecambe Lodge PS (25920) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02223 | Lostock Street / Lower Vickers Street CSO (282DO) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02212 | Great Stone Road CSO (459KP) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02209 | Eagle Brow CSO (489KT) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02253 | The Hayloft Bouth (399KN) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02249 | XX Moorside Road (099KU) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02240 | Stainforth WwTW | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02203 | Cheetham Street / St Marys Gate CSO (353CC) | 0 | Installation set-up/design issue | N/A - Ongoing investigation

## 2024
Unique ID | Site Name | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe
UUP00013 | 188 Rating Lane CSO | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP00025 | 27/29 Abbotsmead Approach CSO | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP00180 | BANK STREET STORAGE TANK CSO (28CSO123) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00320 | Bridgegate Avenue (manhole 5800) CSO | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP00440 | Junction of Romford Street & Chapel Green Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00448 | Chapel Green Road/ Arundle Street CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00603 | Damside Screening Chamber | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00605 | Dane Avenue/Wheatclose Road CSO | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP00744 | Flass Lane at Bridgegate Ave, Newbarns CSO (04531/04CSO009) | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP00917 | Hawcoat Lane/Hartland Road CSO | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP00918 | Hawcoat Lane/Thorncliffe Road CSO | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP00976 | Hollow Lane/Harrel Lane CSO | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP01240 | Manhole No. 20 off East Park Drive CSO / South Park Drive PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01254 | Marland Hill SSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01376 | New Brighton PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01416 | Monmouth Crescent | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01500 | Paddington PS | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01612 | Rating Lane/Meadowlands Avenue CSO | 0 | No longer operational as an overflow - permit revoked or to be revoked | N/A - Ongoing investigation
UUP01788 | South of Peel Terrace, Chester Road, MHT (Outlet 2) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01899 | Tan House Lane/ Moss Bank Road CSO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02255 | Morecambe Lodge PS (25920) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02284 | Chipping WwTW | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02285 | Sunny Bank Opposite Hopkin View CSO (319KN) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02286 | Manchester Road Memorial House CSO (378NQ) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02287 | Longdin Street CSO (483FQ) | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02288 | Calverley WwTW SO | 0 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01361 | Mowbreck Ww Ntwk PS | 0.01 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02006 | Walkden Road/Hoylake Road CSO | 0.05 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02220 | Liverpool Road PS (49039) | 1.64 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00740 | Fishergate Hill CSO | 2.23 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02185 | York Avenue CSO | 2.71 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00739 | Fishergate Hill CSO | 7.15 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02053 | Waterside Mill Combined Sewer Overflow | 7.85 | Access - Unable to retrieve data from non-telemetry data logger | N/A - Ongoing investigation
UUP00897 | Hypatia Street CSO | 7.93 | Installation set-up/design issue | Resolved - Jun
UUP01942 | Thwaites Brewery Yard CSO | 9.79 | Comms failure / issue | Resolved - Dec
UUP01622 | Rear of XX Meadow Lane CSO | 11.57 | Comms failure / issue | N/A - Ongoing investigation
UUP02153 | Wistaston Road CSO | 12.5 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Nov
UUP00408 | Carr Mill Road CSO | 13.17 | Comms failure / issue | N/A - Ongoing investigation
UUP00862 | Greystoke Wastewater Process PS | 13.17 | Comms failure / issue | N/A - Ongoing investigation
UUP00749 | Folds Road CSO | 13.24 | Comms failure / issue | N/A - Ongoing investigation
UUP01030 | Jackson Street CSO | 13.24 | Comms failure / issue | N/A - Ongoing investigation
UUP00324 | Clitheroe Road CSO | 13.28 | Comms failure / issue | N/A - Ongoing investigation
UUP01701 | South Chadderton / The Causeway Oldham CSO | 13.28 | Comms failure / issue | N/A - Ongoing investigation
UUP01333 | Molyneux Drive CSO | 13.29 | Comms failure / issue | N/A - Ongoing investigation
UUP01729 | Gubberford Lane PS | 13.29 | Comms failure / issue | N/A - Ongoing investigation
UUP01021 | Ingleborough Way/Bow Lane CSO | 13.3 | Comms failure / issue | N/A - Ongoing investigation
UUP02155 | Withnell Fold PS | 13.3 | Comms failure / issue | N/A - Ongoing investigation
UUP00079 | Addison Close CSO | 13.31 | Comms failure / issue | N/A - Ongoing investigation
UUP02127 | Lancaster Lane CSO | 13.31 | Comms failure / issue | N/A - Ongoing investigation
UUP00026 | Rear of 273 Regent Street CSO | 13.32 | Comms failure / issue | N/A - Ongoing investigation
UUP01687 | Ross Lave Lane CSO | 13.33 | Comms failure / issue | N/A - Ongoing investigation
UUP00139 | Ash Lane | 13.37 | Comms failure / issue | N/A - Ongoing investigation
UUP01950 | Tonge Valley CSO | 16.4 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01029 | Irwell Vale PS | 17.13 | Capital / maintenance works affect EDM operation | N/A - Ongoing investigation
UUP01912 | The Bypass / Liverpool Road Junction CSO | 26.42 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Oct
UUP01930 | Thorncliff Road/Cliff Lane CSO | 32.14 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00584 | South of Ashawe Grove CSO | 33.5 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01585 | PRINGLE STREET CSO | 40.17 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Dec
UUP02237 | Sagars Rd CSO (279DF) | 40.73 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02218 | Junction of High Street /Stockport Rd / Manchester Rd CSO | 43.03 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00988 | Horest Lane CSO | 44.07 | Telemetry or data archiving failure / issue | Resolved - Oct
UUP01553 | Platt Lane CSO | 46.31 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Aug
UUP02221 | London Road (Preston) CSO (332C8) | 46.35 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01548 | PICA WwTW | 46.56 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01782 | WIG0165A South of Ball Street CSO | 46.6 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00370 | Burnley Road East/Shawclough Road CSO | 46.62 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Aug
UUP00221 | Bentcliffe Way / Wood Street CSO | 47.58 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Nov
UUP02217 | Tonge Bridge Way CSO (078NN) | 54.93 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01156 | Littleton Road CSO | 55.77 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Oct
UUP00433 | Cemetery Lane Pumping Station (52540) and Bridge Farm Combined Sewer Overflow (525QK) | 56.86 | Comms failure / issue | N/A - Ongoing investigation
UUP01805 | Spring Vale CSO | 57.25 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Nov
UUP01382 | NEWBIGGIN WwTW | 58.57 | Comms failure / issue | N/A - Ongoing investigation
UUP00004 | 103 Brinksway/Lark Hill CSO | 58.68 | Installation set-up/design issue | Resolved - Jul
UUP01808 | Squires Gate Lane | 60.21 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01718 | Sankey Bridge PS | 61.57 | Comms failure / issue | N/A - Ongoing investigation
UUP00706 | Entwistle Street Combined Sewer Overflow (073DQ) (BOL0093) | 62.93 | Comms failure / issue | N/A - Ongoing investigation
UUP00836 | Great Bridgewater Street CSO | 64 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - May
UUP02173 | Woolton WwTW | 64.12 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Jun
UUP00472 | CHORLEY NEW ROAD / DEVONSHIRE ROAD CSO | 64.19 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00555 | Cooper Street | 65.46 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01069 | Kingsbridge Road CSO | 66.03 | Access - Unable to retrieve data from non-telemetry data logger | N/A - Ongoing investigation
UUP00383 | BURY WwTW | 67.35 | Comms failure / issue | N/A - Ongoing investigation
UUP00174 | Balmoral Drive/North Road CSO | 69.44 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00966 | Highfield Avenue CSO | 69.81 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Jul
UUP01803 | Spragg Street/ Willow Street CSO | 71.17 | No longer operational as an overflow - permit revoked or to be revoked | Overflow no longer spilling to environment - from Sep
UUP00375 | Burton Road (Withington) CSO | 71.44 | Comms failure / issue | N/A - Ongoing investigation
UUP00163 | Back of Woodland Drive CSO | 71.62 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Nov
UUP01626 | Rear of 256 Dales Brow CSO | 72.58 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Apr
UUP00531 | Compstall Road CSO | 73.45 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Jul
UUP00800 | Glazebrook Lane CSO | 73.48 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Apr
UUP02253 | The Hayloft CSO (399KN) | 73.49 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01514 | Park Road North | 73.63 | Installation set-up/design issue | Scheduled
UUP02227 | Moorside School CSO (379CM) | 74.5 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01618 | Rear 23 Liverpool Road North CSO | 74.54 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01898 | Tame Street/Park Road CSO | 74.55 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01219 | The Mad Hatter Pub CSO | 75.02 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00209 | BEECH BRIDGE SOUTH CSO | 75.04 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01353 | Mossway CSO | 75.08 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00870 | Gynn Square CSO | 75.88 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01982 | Richmond Road CSO | 75.89 | Installation set-up/design issue | Scheduled
UUP01194 | LOW BENTHAM WwTW | 75.94 | Comms failure / issue | N/A - Ongoing investigation
UUP00451 | Charles Street CSO | 76.01 | Sensor failure / issue | Resolved - January after reporting year
UUP01661 | River Bank Close CSO | 76.18 | Sensor failure / issue | Resolved - Mar
UUP02283 | Waygreen Cottages CSO (399KS) | 76.65 | Installation set-up/design issue | Scheduled
UUP01044 | Junction of GRAVER LANE and ELSMA ROAD CSO | 77.09 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - May
UUP02136 | Wilmslow Road/Brook road CSO | 77.57 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02133 | Willaston Relief Sewer | 77.88 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00775 | Garstang Road Bridge CSO | 77.9 | Telemetry or data archiving failure / issue | Resolved - Jul
UUP02198 | Coal Pit (Birkby) CSO | 78.01 | Sensor failure / issue | N/A - Ongoing investigation
UUP01204 | Lower Road PS | 78.09 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00316 | Dunning's Bridge Road, Junction Copy Lane CSO | 78.42 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00934 | Heaton Moor CSO | 78.53 | Telemetry or data archiving failure / issue | Resolved - Sep
UUP02224 | Lower Barnes Street CSO (229KM) | 78.68 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01693 | Royton Settled Storm Overflow | 79.24 | Comms failure / issue | N/A - Ongoing investigation
UUP00944 | HESKETH LANE CSO | 79.29 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Apr
UUP01694 | Rear of No. XXX Bridgewater Street CSO | 79.5 | Sensor failure / issue | Resolved - May
UUP02018 | Wargrave Road CSO | 79.86 | Installation set-up/design issue | Scheduled
UUP01381 | NEWBIGGIN WwTW | 80.03 | Comms failure / issue | N/A - Ongoing investigation
UUP00615 | Daresbury CSO | 80.14 | Telemetry or data archiving failure / issue | Resolved - Aug
UUP00087 | Agecroft Road East CSO | 80.24 | Installation set-up/design issue | Scheduled
UUP00128 | Argyll Street CSO | 80.53 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01184 | Longworth Road/Railway Viaduct CSO | 80.73 | Sensor failure / issue | N/A - Ongoing investigation
UUP00933 | Heaton Bridge CSO | 80.95 | Telemetry or data archiving failure / issue | Resolved - Sep
UUP01329 | Hattersley SSO | 81.04 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00367 | Burnley Road/Middlegate CSO | 81.11 | Installation set-up/design issue | Scheduled
UUP01809 | Adjacent Cross Keys Inn | 81.19 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00762 | French Street CSO | 81.26 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Oct
UUP02206 | New Delph Bridge CSO (319LB) | 81.27 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01770 | SLAIDBURN WwTW | 81.53 | Comms failure / issue | N/A - Ongoing investigation
UUP01536 | Penrith Road | 81.8 | Installation set-up/design issue | Scheduled
UUP01798 | Walker Street | 82.29 | Sensor failure / issue | Resolved - Jun
UUP00784 | CSO at Gelt Road | 82.55 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00583 | 18/20 Beech Farm Drive CSO | 82.87 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01256 | Marple Road CSO | 83 | Sensor failure / issue | N/A - Ongoing investigation
UUP01989 | Vaughan Street Combined Sewer Overflow | 83.12 | Sensor failure / issue | Resolved - January after reporting year
UUP00992 | HORWICH WwTW | 83.53 | Comms failure / issue | N/A - Ongoing investigation
UUP01710 | SANDBACH WwTW | 83.55 | Comms failure / issue | N/A - Ongoing investigation
UUP00471 | Chorley New Road/Beaumont Road CSO | 83.74 | Access - Unable to retrieve data from non-telemetry data logger | N/A - Ongoing investigation
UUP02236 | Regent Road / Ordsall Lane CSO (372NO) | 84.16 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02210 | Fleming Rd CSO (263DZ) | 84.19 | Installation set-up/design issue | Scheduled
UUP00022 | 242 Stockport Road West CSO | 84.23 | Installation set-up/design issue | Scheduled
UUP01926 | Thewlis Street CSO | 84.35 | Installation set-up/design issue | Scheduled
UUP01154 | LITTLE HULTON CSO | 84.36 | Installation set-up/design issue | Scheduled
UUP00667 | Dumplington Circle CSO | 84.41 | Installation set-up/design issue | Scheduled
UUP01821 | St Johns Road CSO | 84.42 | Installation set-up/design issue | Scheduled
UUP01632 | Rear of 68 Whitbarrow Road | 84.57 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00737 | FIRS LANE / URMSTON STREET CSO | 84.6 | Installation set-up/design issue | Scheduled
UUP01699 | Rushbed SSO | 84.61 | Installation set-up/design issue | Scheduled
UUP01856 | Stenkrith Bridge CSO | 84.85 | Comms failure / issue | Resolved - May
UUP01647 | Revidge Road/Preston New Road | 85.02 | Installation set-up/design issue | Scheduled
UUP00249 | Blackburn Road/Halliwell Road CSO | 85.21 | Sensor failure / issue | Resolved - May
UUP01728 | School Lane/Lodge Lane CSO | 85.28 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01540 | Peppermint Bridge CSO | 85.39 | Comms failure / issue | Resolved - Apr
UUP00164 | Back Queen's Park Road CSO | 85.48 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01415 | Ormskirk Road , Skelmersdale | 85.54 | Installation set-up/design issue | Scheduled
UUP00097 | Albyn Street East CSO | 85.96 | Telemetry or data archiving failure / issue | Resolved - Dec
UUP00619 | Davyhulme Road East | 86.19 | Installation set-up/design issue | Scheduled
UUP01671 | Rochdale Road/Alfreton Street CSO | 86.27 | Comms failure / issue | Resolved - May
UUP01473 | Opposite 36 Carr Lane CSO | 86.3 | Sensor failure / issue | N/A - Ongoing investigation
UUP01522 | PARTINGTON WwTW | 86.49 | Comms failure / issue | N/A - Ongoing investigation
UUP00349 | Sandford Banks PS | 86.5 | Installation set-up/design issue | Scheduled
UUP00786 | George Street CSO | 86.76 | Comms failure / issue | Resolved - Nov
UUP00456 | Cheadle Golf Course CSO | 86.78 | Comms failure / issue | N/A - Ongoing investigation
UUP01420 | O/S 107 Liverpool Road in Footpath CSO | 86.79 | Sensor failure / issue | Resolved - May
UUP01621 | Rear Garden of No.16 Crossings Close | 86.86 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01262 | Mather Lane CSO | 86.91 | Installation set-up/design issue | Scheduled
UUP02209 | Eagle Brow CSO (489KT) | 86.99 | Installation set-up/design issue | N/A - Ongoing investigation
UUP00459 | Chester Road/Great Jackson Road CSO | 87.2 | Comms failure / issue | N/A - Ongoing investigation
UUP00148 | Askham Wastewater Treatment Works (ASKHM) (017670078) | 87.23 | Comms failure / issue | Resolved - Sep
UUP00733 | Fielding Street CSO | 87.33 | Installation set-up/design issue | Scheduled
UUP02252 | XXX Water Street CSO (099KN) | 87.33 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02181 | Wrenbury Hall Road PS | 87.37 | Installation set-up/design issue | N/A - Ongoing investigation
UUP01114 | Lark Hill/Brook House Lane CSO | 87.48 | Sensor failure / issue | Resolved - Sep
UUP00295 | Swinton Eccles Transfer Sewer Stage 1 | 87.6 | Installation set-up/design issue | Scheduled
UUP02246 | Wakefield Road CSO (449LF) | 87.67 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02238 | Sankey Ind Est CSO (428NI) | 87.75 | Installation set-up/design issue | Scheduled
UUP02247 | Westbourne Rd CSO (512ZA) | 87.77 | Installation set-up/design issue | Scheduled
UUP00414 | Carrington Road/Offerton Street CSO | 87.8 | Installation set-up/design issue | Scheduled
UUP00644 | Dock Road South PS, Bromborough | 87.94 | Comms failure / issue | N/A - Ongoing investigation
UUP00008 | 143 Burnley Road East CSO | 88.07 | Telemetry or data archiving failure / issue | Resolved - Dec
UUP00895 | HANOVER STREET CSO | 88.09 | Installation set-up/design issue | Scheduled
UUP00396 | Camerton Ww PS | 88.17 | Comms failure / issue | N/A - Ongoing investigation
UUP00799 | GLASSONBY VILLAGE WwTW | 88.26 | Comms failure / issue | Resolved - Apr
UUP02250 | North Row CSO (049KS) | 88.27 | Installation set-up/design issue | Scheduled
UUP01305 | MILL COTTAGES CSO | 88.33 | Installation set-up/design issue | Scheduled
UUP01499 | Oxford Street/Ainsley Street CSO | 88.34 | Sensor failure / issue | Resolved - Sep
UUP02274 | Tabley WWTW | 88.44 | Sensor failure / issue | N/A - Ongoing investigation
UUP00621 | Dean Road CSO | 88.51 | Comms failure / issue | Resolved - Jun
UUP01277 | Melbourne Street CSO | 88.51 | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
UUP01685 | Rooley Moor Road | 88.67 | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
UUP00825 | GRANGE LANE CSO | 88.71 | Installation set-up/design issue | Scheduled
UUP01490 | Outside 91 Styal Road CSO | 88.73 | Comms failure / issue | Resolved - Feb
UUP01467 | Opp River Street CSO | 88.75 | Telemetry or data archiving failure / issue | Scheduled
UUP00857 | Greenwood Avenue CSO | 88.86 | Comms failure / issue | Resolved - Jun
UUP00811 | Gloucester Street CSO | 88.91 | Installation set-up/design issue | Scheduled
UUP00278 | Bond Street CSO | 88.96 | Telemetry or data archiving failure / issue | Resolved - Apr
UUP00054 | 650 yards downstream of Kingsway River Bridge CSO | 88.97 | Comms failure / issue | Resolved - Jan
UUP00891 | Hammerton Street/Stanley Street CSO | 89.01 | Telemetry or data archiving failure / issue | Scheduled
UUP01841 | Standedge Road SSO | 89.31 | Telemetry or data archiving failure / issue | Scheduled
UUP02201 | Broadway CSO Opp Football Ground (319KO) | 89.33 | Installation set-up/design issue | N/A - Ongoing investigation
UUP02123 | Cowm Park Way South | 89.35 | Installation set-up/design issue | Scheduled
UUP00483 | Church Street CSO | 89.36 | Sensor failure / issue | Resolved - Jul
UUP01225 | Manchester Road | 89.37 | Capital / maintenance works affect EDM operation | Scheduled
UUP00986 | Hooley Bridge CSO | 89.38 | Comms failure / issue | N/A - Ongoing investigation
UUP01014 | Illingworth Avenue CSO | 89.4 | Installation set-up/design issue | Scheduled
UUP00702 | Elterwater pumping station (ELTER) (LAK0025) | 89.55 | Telemetry or data archiving failure / issue | Resolved - Jul
UUP00600 | DALSTON WwTW | 89.7 | Telemetry or data archiving failure / issue | N/A - Ongoing investigation
UUP01272 | Meathop PS | 89.77 | Comms failure / issue | N/A - Ongoing investigation
UUP00357 | Buckley Wells CSO | 89.8 | Sensor failure / issue | Resolved - Nov
UUP02226 | Moorside Road / Ellesmere Street CSO (378JX) | 89.8 | Installation set-up/design issue | Scheduled
UUP00588 | Cuddington Lane (Woods) CSO | 89.84 | Comms failure / issue | Resolved - Jul
UUP02231 | O/S XXXXXX House CSO (174LB) | 89.86 | Installation set-up/design issue | Scheduled
UUP02230 | Mount Street CSO (079KM) | 89.89 | Installation set-up/design issue | Scheduled
UUP01016 | In fields at rear of 36 East Drive CSO | 89.9 | Comms failure / issue | Resolved - Sep
UUP00626 | DEARDENGATE / BURY ROAD CSO | 89.91 | Installation set-up/design issue | Scheduled
UUP01097 | Ladybridge Lane (Near Ladybridge Brow) CSO | 89.94 | Comms failure / issue | Resolved - Jul

## 2025
Unique ID | Site Name | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe
UUP01382 | NEWBIGGIN WwTW | 38.53 | Telemetry or data archiving failure / issue | Resolved - Aug
UUP01187 | LORDS STREET / FIR STREET CSO | 41.68 | Sensor failure / issue | Resolved - Nov
UUP00157 | Audley Road and Talke Road Junction CSO | 42.8 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Aug
UUP02253 | The Hayloft Bouth (399KN) | 47.13 | Comms failure / issue | Resolved - Jun
UUP02201 | Broadway CSO Opp Football Ground (319KO) | 48.71 | Sensor failure / issue | Resolved - Aug
UUP00739 | Fishergate Hill CSO | 52.47 | Installation set-up/design issue | Resolved - Oct
UUP01615 | Ravenstown PS | 54.55 | Sensor failure / issue | Resolved - Jul
UUP00010 | 18 Deepdale Road CSO | 54.73 | Sensor failure / issue | Resolved - Jul
UUP01381 | NEWBIGGIN WwTW | 57.55 | Telemetry or data archiving failure / issue | Resolved - Aug
UUP01319 | Miller St/Corporation St CSO | 57.61 | Sensor failure / issue | Resolved - Nov
UUP02237 | Sagars Rd CSO (279DF) | 57.79 | Sensor failure / issue | Resolved - Jun
UUP01225 | Manchester Road | 57.91 | Sensor failure / issue | Resolved - Jun
UUP00187 | Barlow Moor Road/Palatine Road CSO | 58.51 | Sensor failure / issue | Resolved - Nov
UUP00472 | CHORLEY NEW ROAD / DEVONSHIRE ROAD CSO | 59.78 | Sensor failure / issue | Resolved - Jul
UUP01607 | Rainsough Brow CSO | 60.09 | Sensor failure / issue | Resolved - Oct
UUP02238 | Sankey Ind Est CSO (428NI) | 60.16 | Sensor failure / issue | Resolved - Oct
UUP01553 | Platt Lane CSO | 60.6 | Sensor failure / issue | Resolved - Aug
UUP01735 | Seedfield Secondary Modern School CSO | 60.68 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - May
UUP00740 | Fishergate Hill CSO | 60.8 | Installation set-up/design issue | Resolved - Oct
UUP02053 | Waterside Mill Combined Sewer Overflow | 61.76 | Sensor failure / issue | Resolved - May
UUP02030 | Grappenhall Resewerage Scheme | 61.87 | Sensor failure / issue | Resolved - Nov
UUP01195 | Low Hesket PS | 63.55 | Sensor failure / issue | Not Applicable - Ongoing investigation
UUP00167 | Highfield Road CSO | 63.74 | Sensor failure / issue | Resolved - Jun
UUP01069 | Kingsbridge Road CSO | 64.81 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - May
UUP01929 | Thompson Road Combined Sewer Overflow (Site ID 07055) (BOL0053) | 65.92 | Sensor failure / issue | Not Applicable - Ongoing investigation
UUP02070 | Wellington Road North / Crossley Road CSO | 66.27 | Sensor failure / issue | Resolved - Oct
UUP02072 | Wellington Road South CSO | 66.85 | Comms failure / issue | Not Applicable - Ongoing investigation
UUP00471 | Chorley New Road/Beaumont Road CSO | 66.95 | Sensor failure / issue | Resolved - Apr
UUP01622 | Rear of XX Meadow Lane CSO | 67.31 | Sensor failure / issue | Resolved - Jul
UUP01219 | The Mad Hatter Pub CSO | 67.99 | Sensor failure / issue | Resolved - Jul
UUP00418 | CASTERTON WwTW | 68.05 | Sensor failure / issue | Resolved - Jun
UUP02225 | Manchester Road / Corrie Drive CSO (079DB) | 68.21 | Sensor failure / issue | Resolved - Nov
UUP01926 | Thewlis Street CSO | 68.46 | Comms failure / issue | Resolved - Dec
UUP00927 | HAYTON WwTW | 69.15 | Sensor failure / issue | Resolved - January after reporting year
UUP00844 | Great Underbank CSO | 69.5 | Sensor failure / issue | Resolved - Dec
UUP00870 | Gynn Square CSO | 69.69 | Comms failure / issue | Not Applicable - Ongoing investigation
UUP00445 | Chapel Lane CSO | 69.78 | Sensor failure / issue | Resolved - Nov
UUP01632 | Rear of 68 Whitbarrow Road | 69.83 | Sensor failure / issue | Resolved - Jul
UUP01350 | Watery Lane PS CSO | 70.3 | Installation set-up/design issue | Resolved - Sep
UUP02185 | York Avenue CSO | 70.32 | Installation set-up/design issue | Resolved - May
UUP00360 | Bulk Road CSO (25097) | 71.13 | Sensor failure / issue | Resolved - Dec
UUP02123 | Cowm Park Way South | 71.14 | Sensor failure / issue | Resolved - Sep
UUP00378 | Bury New Road CSO | 71.41 | Sensor failure / issue | Resolved - Sep
UUP00006 | HASSALL ROAD CSO | 71.49 | Sensor failure / issue | Resolved - Dec
UUP01315 | 95 Mill Lane (St.Helens) CSO | 71.74 | Power failure / issue | Resolved - Jul
UUP00345 | Brook Mill CSO | 71.83 | Installation set-up/design issue | Resolved - Sep
UUP01248 | Manor Road PS | 72.11 | Sensor failure / issue | Resolved - January after reporting year
UUP01809 | Adjacent Cross Keys Inn | 72.32 | Sensor failure / issue | Resolved - Nov
UUP00234 | Bidston Bypass CSO | 72.4 | Sensor failure / issue | Resolved - Jul
UUP02159 | Wood Lane/ Glentree Close CSO | 72.6 | Sensor failure / issue | Resolved - Sep
UUP00433 | Cemetery Lane Pumping Station (52540) and Bridge Farm Combined Sewer Overflow (525QK) | 72.73 | Sensor failure / issue | Resolved - Oct
UUP00434 | Central Avenue CSO | 72.9 | Sensor failure / issue | Resolved - Aug
UUP01782 | WIG0165A South of Ball Street CSO | 73.21 | Sensor failure / issue | Resolved - Apr
UUP02181 | Wrenbury Hall Road PS | 73.44 | Telemetry or data archiving failure / issue | Resolved - Oct
UUP02263 | Hethers Gill WwTW | 73.87 | Sensor failure / issue | Resolved - Aug
UUP00626 | DEARDENGATE / BURY ROAD CSO | 73.98 | Sensor failure / issue | Resolved - Oct
UUP02173 | Woolton WwTW | 74.05 | Sensor failure / issue | Resolved - Oct
UUP01604 | Railway Farm Combined Sewer Overflow (Site ID 25051) (LAN0031) | 75.43 | Sensor failure / issue | Resolved - January after reporting year
UUP02261 | Great Clifton | 75.66 | Sensor failure / issue | Resolved - Nov
UUP01686 | Rosemary Lane CSO | 76.15 | Sensor failure / issue | Resolved - Apr
UUP01665 | Roa Island PS | 76.31 | Sensor failure / issue | Resolved - January after reporting year
UUP01621 | Rear Garden of No.16 Crossings Close | 76.33 | Comms failure / issue | Resolved - Nov
UUP00706 | Entwistle Street Combined Sewer Overflow (073DQ) (BOL0093) | 76.36 | Telemetry or data archiving failure / issue | Resolved - Nov
UUP01912 | The Bypass / Liverpool Road Junction CSO | 76.4 | Sensor failure / issue | Resolved - May
UUP01353 | Mossway CSO | 76.8 | Sensor failure / issue | Resolved - Apr
UUP00730 | Field Head Pumping Station (Site ID FLDHD) (LAK0090) | 77.09 | Telemetry or data archiving failure / issue | Resolved - Nov
UUP01950 | Tonge Valley CSO | 77.12 | Telemetry or data archiving failure / issue | Resolved - Nov
UUP01872 | Stonehill Road CSO | 77.22 | Sensor failure / issue | Resolved - January after reporting year
UUP00487 | Church Street West CSO | 77.24 | Sensor failure / issue | Resolved - Apr
UUP00540 | Copster Green Sewer Ejector Station | 77.56 | Telemetry or data archiving failure / issue | Resolved - January after reporting year
UUP01579 | Primrose Hill CSO | 77.64 | Sensor failure / issue | Not Applicable - Ongoing investigation
UUP01062 | Kiln Brow CSO | 78 | Sensor failure / issue | Not Applicable - Ongoing investigation
UUP02057 | Watery Lane CSO (Shaft C1) | 78.06 | Sensor failure / issue | Resolved - Jul
UUP01182 | LONGTOWN WwTW | 78.35 | Sensor failure / issue | Resolved - Nov
UUP00988 | Horest Lane CSO | 78.68 | Sensor failure / issue | Resolved - Nov
UUP01655 | Ridding Lane Combined Sewage Overflow | 79.07 | Sensor failure / issue | Resolved - Dec
UUP02246 | Wakefield Road CSO (449LF) | 79.08 | Sensor failure / issue | Resolved - Oct
UUP01129 | Green Lane Leigh | 79.58 | Sensor failure / issue | Resolved - January after reporting year
UUP02106 | Wharf Street CSO | 79.6 | Telemetry or data archiving failure / issue | Resolved - Nov
UUP01881 | Strangeways PS No2 | 79.61 | Telemetry or data archiving failure / issue | Not Applicable - Ongoing investigation
UUP01827 | St Michaels Road/Manor Road CSO | 79.81 | Installation set-up/design issue | Resolved - Sep
UUP01140 | Lightfoot Lane PS | 80.02 | Sensor failure / issue | Resolved - Nov
UUP00375 | Burton Road (Withington) CSO | 80.43 | Sensor failure / issue | Not Applicable - Ongoing investigation
UUP02032 | Warwick on Eden PS | 80.56 | Sensor failure / issue | Resolved - Nov
UUP01088 | Kirkoswald PS | 80.67 | Sensor failure / issue | Resolved - Mar
UUP02214 | High Road CSO (259DA) | 80.71 | Sensor failure / issue | Resolved - Nov
UUP01205 | Lower Tabley PS | 80.86 | Sensor failure / issue | Resolved - Nov
UUP02254 | Woodside House CSO (169KP) | 80.99 | Sensor failure / issue | Resolved - January after reporting year
UUP00349 | Sandford Banks PS | 81.13 | Sensor failure / issue | Resolved - Nov
UUP01648 | Ribblesdale Drive PS | 81.22 | Sensor failure / issue | Resolved - Nov
UUP02285 | 2 Hopkin View CSO | 81.47 | Sensor failure / issue | Resolved - Dec
UUP00117 | Anderton Field No. 28 | 81.57 | Sensor failure / issue | Resolved - Nov
UUP00857 | Greenwood Avenue CSO | 81.63 | Sensor failure / issue | Resolved - Oct
UUP01590 | Punch Bowl Hotel (Askham) CSO | 81.64 | Comms failure / issue | Not Applicable - Ongoing investigation
UUP01618 | Rear 23 Liverpool Road North CSO | 81.72 | Sensor failure / issue | Resolved - Jul
UUP01231 | Manchester Road/Hope Street CSO | 81.72 | Sensor failure / issue | Resolved - Sep
UUP00700 | Ellesmere Street CSO | 81.76 | Sensor failure / issue | Resolved - Oct
UUP02082 | West Street CSO | 81.8 | Sensor failure / issue | Resolved - Jul
UUP02258 | Acton Bridge WwTW | 81.84 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Nov
UUP00481 | Urmston Sewerage, Church Road & Carrington Road PS | 81.84 | Sensor failure / issue | Resolved - Nov
UUP00454 | Chatburn (Ribble Lane) PS | 81.87 | Sensor failure / issue | Resolved - Sep
UUP01136 | Lever Street Number 1 CSO | 81.95 | Sensor failure / issue | Resolved - Jun
UUP00683 | ECCLES WwTW | 81.98 | Installation set-up/design issue | Resolved - Mar
UUP02272 | Oulton WwTW | 82.04 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Nov
UUP01397 | Newton Arlosh West PS | 82.08 | Comms failure / issue | Not Applicable - Ongoing investigation
UUP01764 | SKELTON WwTW | 82.3 | Comms failure / issue | Not Applicable - Ongoing investigation
UUP02234 | Pool Lane CSO (512L8) | 82.31 | Sensor failure / issue | Resolved - Oct
UUP00066 | 97 Wood Lane CSO | 82.56 | Sensor failure / issue | Resolved - Apr
UUP01941 | Thurtell Cottages CSO | 82.6 | Access - Unable to retrieve data from non-telemetry data logger | Resolved - Sep
UUP01841 | Standedge Road SSO | 82.76 | Sensor failure / issue | Resolved - Sep
UUP01031 | Janes Brook Road PS | 82.81 | Sensor failure / issue | Resolved - Oct
UUP01790 | SOUTH PARK HALL / STOCKS LANE HESKIN CSO (123IK) | 82.87 | Sensor failure / issue | Resolved - Jun
UUP00897 | Hypatia Street CSO | 82.97 | Sensor failure / issue | Resolved - Nov
UUP02236 | Regent Road / Ordsall Lane CSO (372NO) | 83.02 | Sensor failure / issue | Resolved - Nov
UUP01096 | Lady Beck CSO | 83.16 | Sensor failure / issue | Resolved - Jun
UUP00945 | Hest Bank PS | 83.36 | Sensor failure / issue | Resolved - Sep
UUP00874 | Everite Road Combined Sewer Overflow (Site ID 20046) (HAL0004) | 83.38 | Comms failure / issue | Resolved - January after reporting year
UUP01722 | SAWYER BROW / VICTORIA STREET CSO | 83.44 | Sensor failure / issue | Resolved - Sep
UUP01558 | Pool Bank Farm, Bowdon CSO | 83.54 | Comms failure / issue | Resolved - Oct
UUP01514 | Park Road North | 83.58 | Sensor failure / issue | Resolved - Jun
UUP01384 | Newbridge Lane CSO | 83.6 | Sensor failure / issue | Resolved - Oct
UUP00295 | Swinton Eccles Transfer Sewer Stage 1 | 83.67 | Sensor failure / issue | Resolved - Oct
UUP01180 | Longshaw Street CSO | 83.93 | Sensor failure / issue | Resolved - Oct
UUP00960 | High Street West CSO (AKA Dinting Lane CSO) | 83.95 | Sensor failure / issue | Resolved - Sep
UUP01484 | Oughtrington Lane CSO | 83.96 | Sensor failure / issue | Resolved - Dec
UUP00929 | Hazelwood Road combined sewer overflow (435GY) (STK0094) | 84.02 | Sensor failure / issue | Not Applicable - Ongoing investigation
UUP00495 | Clayton Bridge CSO | 84.05 | Comms failure / issue | Resolved - Dec
UUP01164 | Lodge Bank PS | 84.13 | Comms failure / issue | Resolved - Dec
UUP01125 | Leach Lane (St. Helens) CSO | 84.15 | Sensor failure / issue | Resolved - Aug
UUP01411 | Northumberland Street/Stretford Road CSO | 84.15 | Sensor failure / issue | Resolved - Nov
UUP01358 | Mount Sion Road | 84.71 | Sensor failure / issue | Resolved - Oct
UUP01949 | Tonge Moor Road CSO | 84.9 | Sensor failure / issue | Resolved - January after reporting year
UUP02018 | Wargrave Road CSO | 85.01 | Sensor failure / issue | Resolved - Jun
UUP02133 | Willaston Relief Sewer | 85.09 | Sensor failure / issue | Resolved - Sep
UUP01465 | Opposite 255 Buxton Road CSO | 85.19 | Sensor failure / issue | Resolved - Sep
UUP02232 | Old Lancaster Lane CSO | 85.23 | Sensor failure / issue | Resolved - Oct
UUP01329 | Hattersley SSO | 85.34 | Sensor failure / issue | Resolved - Jun
UUP02231 | O/S Fawell House CSO (174LB) | 85.49 | Sensor failure / issue | Resolved - Dec
UUP01267 | Mayfield Drive Ww Ntwk PS | 85.53 | Sensor failure / issue | Resolved - Nov
UUP01863 | Stockport Road CSO | 85.71 | Sensor failure / issue | Resolved - Nov
UUP00868 | Grisedale Close CSO | 85.71 | Sensor failure / issue | Resolved - Sep
UUP01258 | MARTON NORTH (Cassia) WwTW | 85.87 | Telemetry or data archiving failure / issue | Resolved - May
UUP00470 | CHORLEY NEW ROAD CSO | 85.97 | Sensor failure / issue | Resolved - Aug
UUP01130 | LEIGH WwTW | 85.99 | Sensor failure / issue | Resolved - Dec
UUP01131 | LEIGH WwTW | 85.99 | Sensor failure / issue | Resolved - Dec
UUP01703 | Sackville Street/Montague Street CSO | 86.22 | Sensor failure / issue | Resolved - Mar
UUP01898 | Tame Street/Park Road CSO | 86.34 | Sensor failure / issue | Resolved - January after reporting year
UUP00662 | Dukinfield Outfall Sewer CSO | 86.38 | Installation set-up/design issue | Resolved - Aug
UUP02041 | Water Street/Liverpool Road CSO | 86.4 | Sensor failure / issue | Resolved - Dec
UUP02119 | Whiteley Drive CSO | 86.42 | Sensor failure / issue | Resolved - Dec
UUP00555 | Cooper Street | 86.47 | Sensor failure / issue | Resolved - Dec
UUP00836 | Great Bridgewater Street CSO | 86.55 | Sensor failure / issue | Resolved - Oct
UUP01748 | Newhey Shaw Main Outfall CSO | 86.56 | Comms failure / issue | Resolved - Oct
UUP00296 | Bradley Lane (Stretford) CSO | 86.73 | Power failure / issue | Resolved - Feb
UUP01403 | Norbeck Park A CSO | 86.77 | Sensor failure / issue | Resolved - Dec
UUP01848 | POW Bridge/Station Road CSO | 86.8 | Sensor failure / issue | Resolved - January after reporting year
UUP01418 | Nuttall Hall Road CSO | 86.85 | Sensor failure / issue | Resolved - Dec
UUP01058 | Kepple Lane (Overflow 'C' Garstang) CSO | 87.21 | Sensor failure / issue | Resolved - Dec
UUP00333 | Broadoak/Lyndhurst Avenue CSO | 87.21 | Sensor failure / issue | Resolved - Nov
UUP02279 | Warwick Bridge WWTW | 87.37 | Sensor failure / issue | Resolved - Nov
UUP00399 | Canal Bank near Transformer House CSO | 87.38 | Sensor failure / issue | Resolved - Aug
UUP01973 | Twist Lane/Westleigh Bridge CSO | 87.4 | Sensor failure / issue | Resolved - Jun
UUP00757 | Frank Webb Avenue CSO | 87.57 | Sensor failure / issue | Resolved - January after reporting year
UUP01741 | Shap (Brackenber) WwNPS | 87.58 | Sensor failure / issue | Not Applicable - Ongoing investigation
UUP01894 | Swan Mill CSO | 87.58 | Comms failure / issue | Not Applicable - Ongoing investigation
UUP01416 | Monmouth Crescent | 87.82 | Sensor failure / issue | Resolved - Jul
UUP01427 | Outside of 90 Queensway CSO | 87.96 | Sensor failure / issue | Resolved - Sep
UUP01680 | Roewoods Outfall Sewer (27206) (MAC0028) | 88.1 | Sensor failure / issue | Resolved - Jul
UUP02244 | 9 Turton Road | 88.19 | Sensor failure / issue | Resolved - Oct
UUP02209 | Eagle Brow CSO (489KT) | 88.29 | Sensor failure / issue | Resolved - Jun
UUP01301 | Middlewich Road/Parkfield Road CSO | 88.46 | Sensor failure / issue | Resolved - Jul
UUP01391 | NEWCHURCH ROAD / BROOKS STREET CSO | 88.57 | Sensor failure / issue | Resolved - Jul
UUP00598 | Dale Street CSO | 88.76 | Sensor failure / issue | Resolved - Aug
UUP00128 | Argyll Street CSO | 88.79 | Sensor failure / issue | Resolved - Oct
UUP00321 | Bridgeman Park Combined Sewer Overflow | 88.83 | Sensor failure / issue | Resolved - Nov
UUP00720 | Fairhaven Wastewater PS | 88.89 | Sensor failure / issue | Resolved - January after reporting year
UUP01749 | Shaw Road CSO | 88.95 | Sensor failure / issue | Resolved - Dec
UUP02068 | WELL ROW CSO | 89 | Sensor failure / issue | Resolved - Oct
UUP01318 | MILL STREET CSO | 89.09 | Sensor failure / issue | Resolved - Jun
UUP01102 | Lancaster Street CSO | 89.1 | Sensor failure / issue | Resolved - Apr
UUP01889 | Sudellside Street CSO | 89.21 | Sensor failure / issue | Resolved - Oct
UUP01045 | Junction of Wordsworth Street CSO | 89.23 | Sensor failure / issue | Resolved - Sep
UUP01725 | Schola Green Lane Pumping Station | 89.26 | Sensor failure / issue | Not Applicable - Ongoing investigation
UUP01185 | LORD NORTH STREET / CLIFTON STREET CSO | 89.28 | Sensor failure / issue | Resolved - Sep
UUP00996 | Hoylake Road/Chapelhill Road CSO | 89.39 | Telemetry or data archiving failure / issue | Resolved - Jul
UUP01114 | Lark Hill/Brook House Lane CSO | 89.5 | Sensor failure / issue | Resolved - Jun
UUP00799 | GLASSONBY VILLAGE WwTW | 89.5 | Sensor failure / issue | Resolved - Aug
UUP01895 | Talke Industrial Estate Combined Sewer Overflow (Site ID 292UG) (NEW0037) | 89.51 | Sensor failure / issue | Resolved - Sep
UUP01957 | Town Lane CSO | 89.57 | Sensor failure / issue | Resolved - Sep
UUP02265 | Holden WwTW | 89.58 | Sensor failure / issue | Resolved - Jul
UUP00283 | Booths Bank Farm CSO | 89.58 | Sensor failure / issue | Resolved - Aug
UUP00221 | Bentcliffe Way / Wood Street CSO | 89.59 | Sensor failure / issue | Resolved - Nov
UUP00791 | Gilsland (Bath House) CSO | 89.66 | Sensor failure / issue | Resolved - May
UUP01519 | Parr Bridge/Mosley Common Road CSO | 89.83 | Sensor failure / issue | Resolved - Jul