## Sheet1
Water Company Name | Site Name (EA Consents Database) | Site Name (WaSC operational) [optional] | EA Permit Reference (EA Consents Database) | WaSC Supplementary Permit Ref. [optional] | Activity Reference on Permit | Storm Discharge Asset Type | Outlet Discharge NGR (EA Consents Database) | WFD Waterbody ID (Cycle 2) (discharge outlet) | WFD Waterbody Catchment Name (Cycle 2) (discharge outlet) | Receiving Water / Environment (common name) (EA Consents Database) | Shellfish Water (only populate for storm overflow with a Shellfish Water EDM requirement) | Bathing Water (only populate for storm overflow with a Bathing Water EDM requirement) | Treatment Method (over & above Storm Tank settlement / screening) | Initial EDM Commission Date | Total Duration (hrs) all spills prior to processing through 12-24h count method | Counted spills using 12-24h count method | Long-term average spill count | No. full years EDM data (years) | EDM Operation - % of reporting period EDM operational | EDM Operation - Reporting % - Primary Reason <90% | EDM Operation - Action taken / planned - Status & timeframe | High Spill Frequency - Operational Review - Primary Reason | High Spill Frequency - Action taken / planned - Status & timeframe | High Spill Frequency - Environmental Enhancement - Planning Position (Hydraulic capacity)
United Utilities | AMBLESIDE WWTW | AMBLESIDE WwTW | 017370024 | 17370024 | ST | Storm Tank at WwTW | NY3722003890 | GB112073071140 | Rothay | River Rothay | N/A | N/A | Not Applicable | Commissioned in 2018 - full year data expected | 796.48 | 57 | 71.75 | 4 (installed 2018) | 99.97% |  |  | Performance - Asset configuration (e.g. PS/rising main/storm tanks) | N/A - Ongoing investigation | Other investigation - non-WINEP/Green Recovery
United Utilities | ELTERWATER PUMPING STATION | Elterwater pumping station (ELTER) (LAK0025) | 01LAK0025 | LAK0025 | SO | Storm Discharge at Pumping Station | NY3279004720 | GB112073071120 | Great Langdale Beck | Great Langdale Beck | N/A | N/A | Not Applicable | Commissioned in 2018 - full year data expected | 305.98 | 29 | 42.25 | 4 (installed 2018) | 99.99% |  |  | Not asset maintenance - Hydraulic capacity | N/A - Hydraulic capacity | Other investigation - non-WINEP/Green Recovery
United Utilities | GLEBE ROAD PUMPING STATION | Glebe Road PS | 017370148 | LAK0045 | SO | Storm Discharge at Pumping Station | SD3941096350 | GB112073071420 | Leven | Lake Windermere | N/A | N/A | Not Applicable | Commissioned in 2017 - full year data expected | 52.29 | 17 | 84.6 | 5 (installed 2017) | 100% |  |  | Not asset maintenance - Hydraulic capacity | N/A - Hydraulic capacity | Other investigation - non-WINEP/Green Recovery
United Utilities | GRASMERE WWTW | Grasmere Waste Water Treatment Works | 017370027 | 17370027 | SO | Inlet SO at WwTW | NY3392006840 | GB112073071140 | Rothay | Grasmere Lake | N/A | N/A | Not Applicable | Commissioned in 2018 - full year data expected | 2012.37 | 126 | 78.25 | 4 (installed 2018) | 99.96% |  |  | Performance - Asset configuration (e.g. PS/rising main/storm tanks) | N/A - Ongoing investigation | Other investigation - non-WINEP/Green Recovery
United Utilities | HAWKSHEAD PUMPING STATION | Hawkshead Pumping Station (Site ID HWKSH) (LAK0107) | 017380284 | LAK0107 | SO | Storm Discharge at Pumping Station | SD3552197931 | GB112073071400 | Cunsey Beck/Black Beck | Black Beck | N/A | N/A | Not Applicable | Commissioned in 2017 - full year data expected | 1433.02 | 106 | 153 | 5 (installed 2017) | 100% |  |  | Not asset maintenance - Hydraulic capacity | N/A - Hydraulic capacity | U_INV driver - Stage 4: No cost beneficial solution
United Utilities | NEAR SAWREY WWTW NEARS | NEAR SAWREY WwTW | 017370030 | 17370030 | SO | Inlet SO at WwTW | SD3660095110 | GB112073071400 | Cunsey Beck/Black Beck | Cunsey Beck | N/A | Windermere, Millerground Landing | Not Applicable | Commissioned in 2016 - full year data expected | 1305.07 | 67 | 130.5 | 6 (installed 2016) | 99.66% |  |  | Not asset maintenance - Hydraulic capacity | N/A - Hydraulic capacity | U_INV driver - Stage 4: No cost beneficial solution