## Summary
Event Duration Monitor Storm Overflow Start/Stop Data
2025-09-01
The data in this file has not undergone the full five-step validation process as outlined on our website and should not be treated as fully validated data.
As a result, this data may contain errors or inconsistencies as a result of many factors, such as measurement instrument failure and environmental factors.
Once the data has been fully validated as part of our annual regulatory returns process, it may differ from the final figures reported in the annual return.
Therefore no conclusions should be drawn from this raw data.

## Windermere start stop times
UUG ref | Site Name | Spill Start Time (Physical Spills) | Spill End Time (Physical Spills) | Validated Physical Duration (hh:mm:ss)
UUG2167 | AMBLESIDE WwTW | 2025-09-15 02:06 | 2025-09-18 09:13 | 79:07
UUG2167 | AMBLESIDE WwTW | 2025-09-18 14:00 | 2025-09-19 01:41 | 11:40
UUG2167 | AMBLESIDE WwTW | 2025-09-19 07:12 | 2025-09-22 04:16 | 69:03
UUG0978 | Elterwater pumping station (ELTER) (LAK0025) | 2025-09-15 00:02 | 2025-09-16 18:44 | 42:42
UUG0978 | Elterwater pumping station (ELTER) (LAK0025) | 2025-09-17 04:50 | 2025-09-17 19:32 | 14:42
UUG0978 | Elterwater pumping station (ELTER) (LAK0025) | 2025-09-17 19:56 | 2025-09-17 20:04 | 0:08
UUG0978 | Elterwater pumping station (ELTER) (LAK0025) | 2025-09-20 19:18 | 2025-09-21 02:10 | 6:52
UUG0978 | Elterwater pumping station (ELTER) (LAK0025) | 2025-09-21 02:12 | 2025-09-21 02:28 | 0:16
UUG0978 | Elterwater pumping station (ELTER) (LAK0025) | 2025-09-21 02:30 | 2025-09-21 02:42 | 0:12
UUG0034 | Glebe Road PS | 2025-09-15 18:33 | 2025-09-15 19:58 | 1:25
UUG0034 | Glebe Road PS | 2025-09-15 20:03 | 2025-09-15 20:12 | 0:09
UUG0034 | Glebe Road PS | 2025-09-15 20:19 | 2025-09-15 20:26 | 0:08
UUG0034 | Glebe Road PS | 2025-09-15 20:34 | 2025-09-15 20:41 | 0:07
UUG0034 | Glebe Road PS | 2025-09-15 20:48 | 2025-09-15 20:54 | 0:07
UUG0034 | Glebe Road PS | 2025-09-15 21:02 | 2025-09-15 21:50 | 0:48
UUG0034 | Glebe Road PS | 2025-09-15 21:56 | 2025-09-15 22:12 | 0:17
UUG0034 | Glebe Road PS | 2025-09-15 22:18 | 2025-09-15 22:28 | 0:10
UUG0034 | Glebe Road PS | 2025-09-15 22:34 | 2025-09-15 22:45 | 0:11
UUG0034 | Glebe Road PS | 2025-09-15 22:52 | 2025-09-15 23:01 | 0:09
UUG0034 | Glebe Road PS | 2025-09-15 23:07 | 2025-09-15 23:14 | 0:07
UUG0034 | Glebe Road PS | 2025-09-15 23:22 | 2025-09-15 23:28 | 0:06
UUG0034 | Glebe Road PS | 2025-09-15 23:38 | 2025-09-15 23:43 | 0:05
UUG0034 | Glebe Road PS | 2025-09-15 23:54 | 2025-09-15 23:58 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 00:08 | 2025-09-16 00:13 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 00:23 | 2025-09-16 00:28 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 00:39 | 2025-09-16 00:44 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 00:55 | 2025-09-16 01:00 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 01:09 | 2025-09-16 01:16 | 0:07
UUG0034 | Glebe Road PS | 2025-09-16 01:23 | 2025-09-16 01:29 | 0:06
UUG0034 | Glebe Road PS | 2025-09-16 01:38 | 2025-09-16 01:43 | 0:06
UUG0034 | Glebe Road PS | 2025-09-16 01:54 | 2025-09-16 01:59 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 02:09 | 2025-09-16 02:13 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 02:28 | 2025-09-16 02:32 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 02:48 | 2025-09-16 02:53 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 03:06 | 2025-09-16 03:10 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 03:28 | 2025-09-16 03:31 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 03:57 | 2025-09-16 04:01 | 0:03
UUG0034 | Glebe Road PS | 2025-09-16 05:28 | 2025-09-16 05:31 | 0:03
UUG0034 | Glebe Road PS | 2025-09-16 06:26 | 2025-09-16 06:30 | 0:03
UUG0034 | Glebe Road PS | 2025-09-16 07:14 | 2025-09-16 07:21 | 0:07
UUG0034 | Glebe Road PS | 2025-09-16 07:27 | 2025-09-16 07:44 | 0:17
UUG0034 | Glebe Road PS | 2025-09-16 07:49 | 2025-09-16 08:34 | 0:45
UUG0034 | Glebe Road PS | 2025-09-16 08:39 | 2025-09-16 08:52 | 0:13
UUG0034 | Glebe Road PS | 2025-09-16 08:59 | 2025-09-16 09:05 | 0:06
UUG0034 | Glebe Road PS | 2025-09-16 09:13 | 2025-09-16 09:20 | 0:07
UUG0034 | Glebe Road PS | 2025-09-16 09:28 | 2025-09-16 09:32 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 09:50 | 2025-09-16 09:55 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 10:06 | 2025-09-16 10:11 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 10:24 | 2025-09-16 10:28 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 10:41 | 2025-09-16 10:45 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 10:56 | 2025-09-16 11:00 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 11:11 | 2025-09-16 11:15 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 11:29 | 2025-09-16 11:33 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 11:48 | 2025-09-16 11:52 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 12:05 | 2025-09-16 12:09 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 12:22 | 2025-09-16 12:27 | 0:05
UUG0034 | Glebe Road PS | 2025-09-16 12:40 | 2025-09-16 12:44 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 13:43 | 2025-09-16 13:46 | 0:04
UUG0034 | Glebe Road PS | 2025-09-16 14:13 | 2025-09-16 14:16 | 0:03
UUG0034 | Glebe Road PS | 2025-09-16 14:43 | 2025-09-16 14:47 | 0:03
UUG0034 | Glebe Road PS | 2025-09-17 07:35 | 2025-09-17 07:41 | 0:06
UUG0034 | Glebe Road PS | 2025-09-17 07:49 | 2025-09-17 07:55 | 0:07
UUG0034 | Glebe Road PS | 2025-09-17 08:02 | 2025-09-17 08:10 | 0:08
UUG0034 | Glebe Road PS | 2025-09-17 08:18 | 2025-09-17 08:24 | 0:06
UUG0034 | Glebe Road PS | 2025-09-17 08:32 | 2025-09-17 08:38 | 0:06
UUG0034 | Glebe Road PS | 2025-09-17 08:46 | 2025-09-17 08:53 | 0:07
UUG0034 | Glebe Road PS | 2025-09-17 09:00 | 2025-09-17 09:08 | 0:07
UUG0034 | Glebe Road PS | 2025-09-17 09:28 | 2025-09-17 09:34 | 0:06
UUG0034 | Glebe Road PS | 2025-09-17 09:42 | 2025-09-17 09:48 | 0:07
UUG0034 | Glebe Road PS | 2025-09-17 09:56 | 2025-09-17 10:02 | 0:06
UUG0034 | Glebe Road PS | 2025-09-17 10:12 | 2025-09-17 10:16 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 10:27 | 2025-09-17 10:32 | 0:05
UUG0034 | Glebe Road PS | 2025-09-17 10:42 | 2025-09-17 10:47 | 0:05
UUG0034 | Glebe Road PS | 2025-09-17 10:57 | 2025-09-17 11:02 | 0:05
UUG0034 | Glebe Road PS | 2025-09-17 11:13 | 2025-09-17 11:18 | 0:05
UUG0034 | Glebe Road PS | 2025-09-17 11:27 | 2025-09-17 11:32 | 0:05
UUG0034 | Glebe Road PS | 2025-09-17 11:42 | 2025-09-17 11:46 | 0:05
UUG0034 | Glebe Road PS | 2025-09-17 11:57 | 2025-09-17 12:02 | 0:05
UUG0034 | Glebe Road PS | 2025-09-17 12:15 | 2025-09-17 12:19 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 12:34 | 2025-09-17 12:38 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 12:54 | 2025-09-17 12:58 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 13:10 | 2025-09-17 13:15 | 0:05
UUG0034 | Glebe Road PS | 2025-09-17 13:26 | 2025-09-17 13:29 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 13:45 | 2025-09-17 13:49 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 14:08 | 2025-09-17 14:12 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 14:25 | 2025-09-17 14:29 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 15:12 | 2025-09-17 15:16 | 0:04
UUG0034 | Glebe Road PS | 2025-09-17 15:42 | 2025-09-17 15:45 | 0:03
UUG0034 | Glebe Road PS | 2025-09-17 16:16 | 2025-09-17 16:19 | 0:03
UUG0034 | Glebe Road PS | 2025-09-17 16:55 | 2025-09-17 16:59 | 0:03
UUG0034 | Glebe Road PS | 2025-09-17 17:46 | 2025-09-17 17:49 | 0:03
UUG0034 | Glebe Road PS | 2025-09-20 12:42 | 2025-09-20 12:46 | 0:04
UUG0034 | Glebe Road PS | 2025-09-20 12:56 | 2025-09-20 13:02 | 0:06
UUG0034 | Glebe Road PS | 2025-09-20 13:10 | 2025-09-20 13:16 | 0:06
UUG0034 | Glebe Road PS | 2025-09-20 13:24 | 2025-09-20 13:30 | 0:05
UUG0034 | Glebe Road PS | 2025-09-20 13:38 | 2025-09-20 13:44 | 0:06
UUG0034 | Glebe Road PS | 2025-09-20 13:53 | 2025-09-20 13:58 | 0:05
UUG0034 | Glebe Road PS | 2025-09-20 14:08 | 2025-09-20 14:13 | 0:04
UUG0034 | Glebe Road PS | 2025-09-20 14:25 | 2025-09-20 14:30 | 0:05
UUG0034 | Glebe Road PS | 2025-09-20 14:40 | 2025-09-20 14:45 | 0:05
UUG0034 | Glebe Road PS | 2025-09-20 14:55 | 2025-09-20 15:00 | 0:04
UUG0034 | Glebe Road PS | 2025-09-20 15:12 | 2025-09-20 15:16 | 0:04
UUG0034 | Glebe Road PS | 2025-09-20 15:33 | 2025-09-20 15:38 | 0:05
UUG0034 | Glebe Road PS | 2025-09-20 15:46 | 2025-09-20 15:55 | 0:08
UUG0034 | Glebe Road PS | 2025-09-20 16:00 | 2025-09-20 16:15 | 0:15
UUG0034 | Glebe Road PS | 2025-09-20 16:21 | 2025-09-20 16:33 | 0:12
UUG0034 | Glebe Road PS | 2025-09-20 16:39 | 2025-09-20 16:51 | 0:12
UUG0034 | Glebe Road PS | 2025-09-20 16:56 | 2025-09-20 17:26 | 0:30
UUG0034 | Glebe Road PS | 2025-09-20 17:30 | 2025-09-20 19:52 | 2:22
UUG0034 | Glebe Road PS | 2025-09-20 19:57 | 2025-09-20 20:12 | 0:15
UUG0034 | Glebe Road PS | 2025-09-20 20:17 | 2025-09-20 20:33 | 0:16
UUG0034 | Glebe Road PS | 2025-09-20 20:39 | 2025-09-20 20:51 | 0:12
UUG0034 | Glebe Road PS | 2025-09-20 20:57 | 2025-09-20 21:05 | 0:09
UUG0034 | Glebe Road PS | 2025-09-20 21:12 | 2025-09-20 21:21 | 0:09
UUG0034 | Glebe Road PS | 2025-09-20 21:28 | 2025-09-20 21:36 | 0:08
UUG0034 | Glebe Road PS | 2025-09-20 21:43 | 2025-09-20 21:50 | 0:07
UUG0034 | Glebe Road PS | 2025-09-20 21:57 | 2025-09-20 22:05 | 0:08
UUG0034 | Glebe Road PS | 2025-09-20 22:12 | 2025-09-20 22:19 | 0:07
UUG0034 | Glebe Road PS | 2025-09-20 22:26 | 2025-09-20 22:32 | 0:06
UUG0034 | Glebe Road PS | 2025-09-20 22:40 | 2025-09-20 22:47 | 0:06
UUG0034 | Glebe Road PS | 2025-09-20 22:55 | 2025-09-20 23:01 | 0:06
UUG0034 | Glebe Road PS | 2025-09-20 23:10 | 2025-09-20 23:15 | 0:05
UUG0034 | Glebe Road PS | 2025-09-20 23:24 | 2025-09-20 23:29 | 0:05
UUG0034 | Glebe Road PS | 2025-09-20 23:39 | 2025-09-20 23:44 | 0:05
UUG0034 | Glebe Road PS | 2025-09-20 23:54 | 2025-09-20 23:58 | 0:04
UUG0034 | Glebe Road PS | 2025-09-21 00:09 | 2025-09-21 00:14 | 0:05
UUG0034 | Glebe Road PS | 2025-09-21 00:25 | 2025-09-21 00:29 | 0:05
UUG0034 | Glebe Road PS | 2025-09-21 00:41 | 2025-09-21 00:45 | 0:04
UUG0034 | Glebe Road PS | 2025-09-21 00:57 | 2025-09-21 01:02 | 0:04
UUG0034 | Glebe Road PS | 2025-09-21 01:14 | 2025-09-21 01:19 | 0:04
UUG0034 | Glebe Road PS | 2025-09-21 01:32 | 2025-09-21 01:36 | 0:04
UUG0034 | Glebe Road PS | 2025-09-21 01:50 | 2025-09-21 01:54 | 0:04
UUG0034 | Glebe Road PS | 2025-09-21 02:08 | 2025-09-21 02:12 | 0:04
UUG0034 | Glebe Road PS | 2025-09-21 02:35 | 2025-09-21 02:38 | 0:03
UUG0034 | Glebe Road PS | 2025-09-21 03:14 | 2025-09-21 03:17 | 0:03
UUG0034 | Glebe Road PS | 2025-09-21 04:21 | 2025-09-21 04:24 | 0:03
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-14 19:56 | 2025-09-14 20:00 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-14 20:54 | 2025-09-14 21:06 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-14 21:12 | 2025-09-14 21:20 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-14 21:46 | 2025-09-14 22:10 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-14 23:58 | 2025-09-15 00:04 | 0:06
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 01:28 | 2025-09-15 01:44 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 02:30 | 2025-09-15 02:44 | 0:14
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 03:02 | 2025-09-15 03:22 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 03:56 | 2025-09-15 04:24 | 0:28
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 05:02 | 2025-09-15 05:26 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 05:28 | 2025-09-15 05:34 | 0:06
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 06:00 | 2025-09-15 06:16 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 06:18 | 2025-09-15 06:32 | 0:14
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 07:10 | 2025-09-15 07:18 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 07:24 | 2025-09-15 07:36 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 07:58 | 2025-09-15 08:50 | 0:52
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 09:16 | 2025-09-15 09:36 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 09:50 | 2025-09-15 10:10 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 10:16 | 2025-09-15 10:40 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 10:50 | 2025-09-15 11:06 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 11:12 | 2025-09-15 11:28 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 11:34 | 2025-09-15 11:46 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 11:52 | 2025-09-15 12:08 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 12:10 | 2025-09-15 12:18 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 12:28 | 2025-09-15 12:40 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 12:46 | 2025-09-15 13:02 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 13:08 | 2025-09-15 13:24 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 13:30 | 2025-09-15 13:42 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 13:52 | 2025-09-15 14:04 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 14:10 | 2025-09-15 14:22 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 14:24 | 2025-09-15 14:44 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 15:00 | 2025-09-15 15:16 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 15:18 | 2025-09-15 15:30 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 15:36 | 2025-09-15 15:52 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 15:54 | 2025-09-15 16:06 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 16:08 | 2025-09-15 16:20 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 16:26 | 2025-09-15 16:34 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 16:40 | 2025-09-15 16:52 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 16:54 | 2025-09-15 17:10 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 17:34 | 2025-09-15 17:46 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 17:52 | 2025-09-15 18:04 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 18:06 | 2025-09-15 18:22 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 18:24 | 2025-09-15 18:36 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 18:38 | 2025-09-15 18:54 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 18:56 | 2025-09-15 19:12 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 19:14 | 2025-09-15 19:26 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 19:28 | 2025-09-15 19:44 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 19:50 | 2025-09-15 20:20 | 0:30
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 20:22 | 2025-09-15 20:38 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 20:44 | 2025-09-15 21:00 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 21:06 | 2025-09-15 21:18 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 21:24 | 2025-09-15 21:36 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 21:42 | 2025-09-15 21:54 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 22:00 | 2025-09-15 22:12 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 22:14 | 2025-09-15 22:30 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 22:36 | 2025-09-15 22:48 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 22:58 | 2025-09-15 23:10 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 23:12 | 2025-09-15 23:24 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 23:26 | 2025-09-15 23:42 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 23:44 | 2025-09-15 23:56 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-15 23:58 | 2025-09-16 00:06 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 00:08 | 2025-09-16 00:24 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 00:26 | 2025-09-16 00:38 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 00:40 | 2025-09-16 00:52 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 00:54 | 2025-09-16 01:06 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 01:08 | 2025-09-16 01:20 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 01:22 | 2025-09-16 01:30 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 01:32 | 2025-09-16 01:48 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 01:50 | 2025-09-16 02:02 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 02:04 | 2025-09-16 02:26 | 0:22
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 02:28 | 2025-09-16 02:50 | 0:22
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 02:52 | 2025-09-16 03:04 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 03:06 | 2025-09-16 03:32 | 0:26
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 03:34 | 2025-09-16 03:46 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 03:48 | 2025-09-16 04:00 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 04:16 | 2025-09-16 04:42 | 0:26
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 04:44 | 2025-09-16 05:10 | 0:26
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 05:12 | 2025-09-16 05:24 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 05:26 | 2025-09-16 06:02 | 0:36
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 06:04 | 2025-09-16 06:16 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 06:18 | 2025-09-16 06:54 | 0:36
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 06:56 | 2025-09-16 07:18 | 0:22
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 07:30 | 2025-09-16 07:38 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 07:40 | 2025-09-16 08:02 | 0:22
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 08:14 | 2025-09-16 08:36 | 0:22
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 08:38 | 2025-09-16 09:00 | 0:22
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 09:26 | 2025-09-16 09:38 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 09:40 | 2025-09-16 10:02 | 0:22
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 10:04 | 2025-09-16 10:16 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 10:18 | 2025-09-16 10:30 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 11:00 | 2025-09-16 11:22 | 0:22
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 11:24 | 2025-09-16 11:36 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 11:38 | 2025-09-16 11:50 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 11:52 | 2025-09-16 12:04 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 12:06 | 2025-09-16 12:18 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 12:20 | 2025-09-16 12:32 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 12:38 | 2025-09-16 12:50 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 12:52 | 2025-09-16 13:04 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 13:06 | 2025-09-16 13:22 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 13:24 | 2025-09-16 13:36 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 13:38 | 2025-09-16 13:50 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 13:56 | 2025-09-16 14:08 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 14:10 | 2025-09-16 14:26 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 14:50 | 2025-09-16 15:02 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 15:04 | 2025-09-16 15:20 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 15:22 | 2025-09-16 15:38 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 15:44 | 2025-09-16 16:00 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 16:06 | 2025-09-16 16:22 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 16:24 | 2025-09-16 16:40 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 17:00 | 2025-09-16 17:16 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 17:18 | 2025-09-16 17:44 | 0:26
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 17:46 | 2025-09-16 18:02 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 18:08 | 2025-09-16 18:24 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 18:30 | 2025-09-16 18:46 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 18:52 | 2025-09-16 19:08 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 19:10 | 2025-09-16 19:30 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 19:32 | 2025-09-16 19:48 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 19:58 | 2025-09-16 20:18 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 20:24 | 2025-09-16 20:44 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 20:50 | 2025-09-16 21:10 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 21:24 | 2025-09-16 21:48 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 22:02 | 2025-09-16 22:26 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 22:36 | 2025-09-16 23:00 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 23:10 | 2025-09-16 23:42 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-16 23:52 | 2025-09-17 00:28 | 0:36
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 00:46 | 2025-09-17 01:10 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 01:16 | 2025-09-17 01:48 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 02:02 | 2025-09-17 02:34 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 02:52 | 2025-09-17 03:12 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 03:26 | 2025-09-17 03:46 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 04:00 | 2025-09-17 04:32 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 04:46 | 2025-09-17 05:14 | 0:28
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 05:28 | 2025-09-17 05:52 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 06:06 | 2025-09-17 06:22 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 06:32 | 2025-09-17 06:48 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 06:54 | 2025-09-17 07:10 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 07:16 | 2025-09-17 07:36 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 07:46 | 2025-09-17 08:06 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 08:12 | 2025-09-17 08:32 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 08:42 | 2025-09-17 09:02 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 09:08 | 2025-09-17 09:24 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 09:30 | 2025-09-17 09:46 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 09:56 | 2025-09-17 10:12 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 10:14 | 2025-09-17 10:30 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 10:36 | 2025-09-17 10:56 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 11:02 | 2025-09-17 11:18 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 11:20 | 2025-09-17 11:36 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 11:42 | 2025-09-17 11:54 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 12:00 | 2025-09-17 12:16 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 12:22 | 2025-09-17 12:38 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 12:44 | 2025-09-17 13:00 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 13:06 | 2025-09-17 13:26 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 13:32 | 2025-09-17 13:48 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 13:54 | 2025-09-17 14:14 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 14:20 | 2025-09-17 14:40 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 14:46 | 2025-09-17 15:02 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 15:12 | 2025-09-17 15:28 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 15:38 | 2025-09-17 15:54 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 16:04 | 2025-09-17 16:20 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 16:30 | 2025-09-17 16:50 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 17:00 | 2025-09-17 17:16 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 17:26 | 2025-09-17 17:42 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 17:52 | 2025-09-17 18:12 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 18:18 | 2025-09-17 18:34 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 18:40 | 2025-09-17 18:56 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 19:06 | 2025-09-17 19:30 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 19:40 | 2025-09-17 20:04 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 20:14 | 2025-09-17 20:34 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 20:44 | 2025-09-17 21:16 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 21:34 | 2025-09-17 21:58 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 22:12 | 2025-09-17 22:44 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-17 23:02 | 2025-09-17 23:42 | 0:40
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 00:04 | 2025-09-18 00:36 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 01:06 | 2025-09-18 01:34 | 0:28
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 02:00 | 2025-09-18 02:32 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 02:54 | 2025-09-18 03:34 | 0:40
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 04:00 | 2025-09-18 04:24 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 04:54 | 2025-09-18 05:22 | 0:28
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 05:44 | 2025-09-18 06:16 | 0:32
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 06:46 | 2025-09-18 07:10 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 07:40 | 2025-09-18 08:04 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 08:34 | 2025-09-18 08:58 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 09:16 | 2025-09-18 09:44 | 0:28
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 10:18 | 2025-09-18 10:30 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 11:00 | 2025-09-18 11:16 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 11:54 | 2025-09-18 12:06 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 12:48 | 2025-09-18 13:04 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 13:38 | 2025-09-18 13:50 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 15:06 | 2025-09-18 15:22 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 15:52 | 2025-09-18 16:00 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 19:14 | 2025-09-18 19:22 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 20:00 | 2025-09-18 20:08 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-18 20:42 | 2025-09-18 20:46 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 07:30 | 2025-09-19 07:34 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 08:28 | 2025-09-19 08:32 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 08:54 | 2025-09-19 09:02 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 10:12 | 2025-09-19 10:16 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 11:56 | 2025-09-19 12:00 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 13:14 | 2025-09-19 13:22 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 13:44 | 2025-09-19 13:48 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 15:28 | 2025-09-19 15:32 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 16:12 | 2025-09-19 16:16 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 17:30 | 2025-09-19 17:34 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 18:44 | 2025-09-19 18:48 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 21:42 | 2025-09-19 21:50 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 22:08 | 2025-09-19 22:20 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 23:20 | 2025-09-19 23:32 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-19 23:54 | 2025-09-20 00:06 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 01:06 | 2025-09-20 01:22 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 01:44 | 2025-09-20 01:56 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 02:26 | 2025-09-20 02:34 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 03:30 | 2025-09-20 03:38 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 03:56 | 2025-09-20 04:02 | 0:06
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 04:04 | 2025-09-20 04:16 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 04:34 | 2025-09-20 04:46 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 05:08 | 2025-09-20 05:24 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 05:42 | 2025-09-20 06:02 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 06:20 | 2025-09-20 06:32 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 06:58 | 2025-09-20 07:14 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 07:32 | 2025-09-20 07:56 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 08:14 | 2025-09-20 08:30 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 09:00 | 2025-09-20 09:24 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 09:54 | 2025-09-20 10:18 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 10:48 | 2025-09-20 11:08 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 11:34 | 2025-09-20 11:54 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 12:12 | 2025-09-20 12:28 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 12:58 | 2025-09-20 13:06 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 13:32 | 2025-09-20 13:52 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 14:52 | 2025-09-20 15:08 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 15:30 | 2025-09-20 15:54 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 16:12 | 2025-09-20 16:32 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 16:46 | 2025-09-20 17:02 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 17:12 | 2025-09-20 17:28 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 17:42 | 2025-09-20 18:02 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 18:08 | 2025-09-20 18:24 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 18:30 | 2025-09-20 18:46 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 18:52 | 2025-09-20 19:08 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 19:14 | 2025-09-20 19:30 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 19:36 | 2025-09-20 19:52 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 20:02 | 2025-09-20 20:18 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 20:24 | 2025-09-20 20:40 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 20:46 | 2025-09-20 21:02 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 21:04 | 2025-09-20 21:20 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 21:22 | 2025-09-20 21:42 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 21:44 | 2025-09-20 21:56 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 22:02 | 2025-09-20 22:18 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 22:20 | 2025-09-20 22:32 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 22:38 | 2025-09-20 22:50 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 22:56 | 2025-09-20 23:08 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 23:14 | 2025-09-20 23:26 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-20 23:32 | 2025-09-21 00:02 | 0:30
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 00:04 | 2025-09-21 00:20 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 00:22 | 2025-09-21 00:34 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 00:36 | 2025-09-21 00:52 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 00:54 | 2025-09-21 01:10 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 01:12 | 2025-09-21 01:28 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 01:34 | 2025-09-21 01:50 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 01:52 | 2025-09-21 02:04 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 02:10 | 2025-09-21 02:22 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 02:24 | 2025-09-21 02:40 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 02:42 | 2025-09-21 02:54 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 03:00 | 2025-09-21 03:12 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 03:14 | 2025-09-21 03:30 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 03:50 | 2025-09-21 04:06 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 04:08 | 2025-09-21 04:20 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 04:26 | 2025-09-21 04:42 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 04:44 | 2025-09-21 05:00 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 05:06 | 2025-09-21 05:18 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 05:24 | 2025-09-21 05:40 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 06:04 | 2025-09-21 06:16 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 06:22 | 2025-09-21 06:34 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 06:36 | 2025-09-21 06:52 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 06:58 | 2025-09-21 07:10 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 07:16 | 2025-09-21 07:32 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 07:34 | 2025-09-21 07:50 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 07:52 | 2025-09-21 08:08 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 08:10 | 2025-09-21 08:26 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 08:28 | 2025-09-21 08:48 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 08:54 | 2025-09-21 09:10 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 09:16 | 2025-09-21 09:32 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 09:38 | 2025-09-21 09:54 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 10:04 | 2025-09-21 10:20 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 10:26 | 2025-09-21 10:42 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 10:48 | 2025-09-21 11:04 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 11:14 | 2025-09-21 11:30 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 11:36 | 2025-09-21 11:52 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 11:58 | 2025-09-21 12:14 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 12:20 | 2025-09-21 12:32 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 13:08 | 2025-09-21 13:24 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 13:42 | 2025-09-21 13:54 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 14:12 | 2025-09-21 14:28 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 14:42 | 2025-09-21 14:58 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 15:20 | 2025-09-21 15:36 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 15:58 | 2025-09-21 16:14 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 16:28 | 2025-09-21 16:44 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 17:02 | 2025-09-21 17:22 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 17:40 | 2025-09-21 18:00 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 18:14 | 2025-09-21 18:30 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 18:44 | 2025-09-21 19:04 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 19:26 | 2025-09-21 19:50 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 20:04 | 2025-09-21 20:20 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 20:42 | 2025-09-21 21:02 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 21:24 | 2025-09-21 21:48 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 22:10 | 2025-09-21 22:30 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 22:56 | 2025-09-21 23:20 | 0:24
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-21 23:46 | 2025-09-22 00:06 | 0:20
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 00:32 | 2025-09-22 00:48 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 01:18 | 2025-09-22 01:30 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 01:56 | 2025-09-22 02:08 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 02:38 | 2025-09-22 02:50 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 03:08 | 2025-09-22 03:20 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 04:24 | 2025-09-22 04:36 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 04:58 | 2025-09-22 05:06 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 05:58 | 2025-09-22 06:06 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 06:28 | 2025-09-22 06:36 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 06:58 | 2025-09-22 07:06 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 07:28 | 2025-09-22 07:36 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 07:54 | 2025-09-22 08:06 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 08:28 | 2025-09-22 08:36 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 08:54 | 2025-09-22 09:10 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 09:16 | 2025-09-22 09:52 | 0:36
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 10:18 | 2025-09-22 10:34 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 11:00 | 2025-09-22 11:16 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 11:38 | 2025-09-22 11:54 | 0:16
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 13:30 | 2025-09-22 13:38 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 13:40 | 2025-09-22 13:46 | 0:06
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 14:12 | 2025-09-22 14:20 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 16:00 | 2025-09-22 16:04 | 0:04
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 18:24 | 2025-09-22 18:36 | 0:12
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 19:14 | 2025-09-22 19:22 | 0:08
UUG1194 | Grasmere Waste Water Treatment Works | 2025-09-22 19:56 | 2025-09-22 20:12 | 0:16
UUG1176 | Hawkshead Pumping Station (Site ID HWKSH) (LAK0107) | 2025-09-02 19:44 | 2025-09-02 23:12 | 3:28
UUG1176 | Hawkshead Pumping Station (Site ID HWKSH) (LAK0107) | 2025-09-02 23:32 | 2025-09-02 23:47 | 0:15
UUG1176 | Hawkshead Pumping Station (Site ID HWKSH) (LAK0107) | 2025-09-03 10:38 | 2025-09-03 22:53 | 12:16
UUG1176 | Hawkshead Pumping Station (Site ID HWKSH) (LAK0107) | 2025-09-03 23:31 | 2025-09-03 23:36 | 0:05
UUG1176 | Hawkshead Pumping Station (Site ID HWKSH) (LAK0107) | 2025-09-12 19:10 | 2025-09-14 00:17 | 29:08
UUG1176 | Hawkshead Pumping Station (Site ID HWKSH) (LAK0107) | 2025-09-14 19:38 | 2025-09-22 15:13 | 187:35
UUG1176 | Hawkshead Pumping Station (Site ID HWKSH) (LAK0107) | 2025-09-22 15:58 | 2025-09-23 01:46 | 9:48
UUG0770 | NEAR SAWREY WwTW | 2025-09-14 20:55 | 2025-09-15 00:20 | 3:25
UUG0770 | NEAR SAWREY WwTW | 2025-09-15 01:15 | 2025-09-21 18:53 | 161:37
UUG0770 | NEAR SAWREY WwTW | 2025-09-21 18:54 | 2025-09-21 20:31 | 1:37
UUG0770 | NEAR SAWREY WwTW | 2025-09-21 20:32 | 2025-09-23 11:11 | 38:39